# SUMATRA BASIC EDUCATION PROJECT

# CONSOLIDATION & RENOVATION OF PRIMARY SCHOOLS

CONSTRUCTION OF NEW JUNIOR HIGH SCHOOLS

## IMPLEMENTATION SPECIALIST’S REPORT

MAY 1998

# SUMATRA BASIC EDUCATION PROJECT

# CONSOLIDATION & RENOVATION OF PRIMARY SCHOOLS

CONSTRUCTION OF NEW JUNIOR HIGH SCHOOLS

TABLE OF CONTENTS

- PROJECT OBJECTIVES                                                                                                     3

- IMPLEMENTATION SPECIALIST’S TERMS OF REFERENCE                                   3

- APPRAISAL MISSION                                                                                                       3

- ISSUES & RECOMMENDATIONS                                                                                   4

- School Mapping and SD/MI Consolidation                                                      4

- SD/MI School Renovation                                                                                4

- School Enrolment                                                                                             5

- SLTP Construction                                                                                           5

- Classroom Furniture                                                                                         6

- Water and Toilets                                                                                              6

- Teachers’ Housing                                                                                            6

- Maintenance                                                                                                      7

- Community Participation                                                                                  7

- CONSTRUCTION IMPLEMENTATION                                                                          7

- Technical Assistance for Construction                                                             7

- Additional Technical Resources                                                                       8

ANNEX 1: BENKULU PROVINCE                                                                                         9

ANNEX 2: NORTH SUMATRA PROVINCE                                                                        15

ANNEX 3: RIAU PROVINCE                                                                                                 20

ANNEX 4: GUIDELINES FOR THE RENOVATION OF SD/MI SCHOOLS                     25

ANNEX 5: GUIDELINES FOR PROPOSALS FOR THE CONSTRUCTION OF

JUNIOR SECONDARY SCHOOLS                                                                                        27

ANNEX 6: JUNIOR SECONDARY SCHOOL DESIGN                                                       29

ANNEX 7: GUIDELINES & STANDARD FORMS FOR USE IN THE PRELIMINARY SURVEY OF THE PHYSICAL CONDITION OF PRIMARY SCHOOLS                           32

ANNEX 8: GUIDELINES FOR CONDUCTING A SURVEY OF THE STANDING HEIGHT OF PRIMARY & JUNIOR SECONDARY SCHOOL PUPILS                              49

ANNEX 9: TECHNICAL ASSISTANCE TEAM FOR CIVIL WORKS PROCUREMENT FOR WEST JAVA BASIC EDUCATION PROJECT & TERMS OF REFERENCE            53

ANNEX 10: THE ECONOMICS OF SCHOOL MAINTENANCE                                        58

- PROJECT OBJECTIVES

- The overall project objectives are to improve the quality of basic education, access to junior secondary education and to decentralise educational planning, management and implementation to the districts and below.

- The project objectives in terms of construction are 1) to reduce the number of primary schools through a programme of rationalisation and consolidation and to improve facilities by renovating those schools retained after consolidation and 2) to improve access to junior secondary education by the construction of additional schools in rural, remote or poor areas.

- Associated objectives are to involve more closely head teachers, parent-teacher associations and community groups such as the village councils (LKMDs) in the renovation and maintenance of primary school facilities.

- IMPLEMENTATION SPECIALIST’S TERMS OF REFERENCE

- The Implementation Specialist’s Terms of Reference for the Appraisal Mission of the Sumatra Basic Education Project were to:

a. Review Provincial and District implementation and monitoring proposals for physical facilities including construction of junior secondary schools, rehabilitation of primary schools, maintenance of school buildings, manufacture and supply of furniture and construction of wells and latrines.

b. Review construction arrangements generally with particular regard to the:

- Number of district-based contractors and their capacity for the construction of junior secondary schools.

- Ability of LKMDs and local craftsmen to renovate or manage renovation of primary schools

- Ability of village carpenters to manufacture school furniture.

- Capacity of PU to monitor and manage construction of junior secondary schools in terms of number of staff; training, qualifications, experience, transport, etc.

- Capacity of PUK to supervise rehabilitation of primary schools in terms of number of staff; training, qualifications, experience, transport; etc.

- Capacity of District or Province based consultants to supervise the construction of junior secondary schools.

c. Review designs for junior secondary and primary schools if any have been prepared.

d. Review progress of school mapping and consolidation programme and facilities inventory if started.

- APPRAISAL MISSION

- The Implementation Specialist’s work on this mission continues the work carried out in previous missions on the Basic Education Projects in West Java, South Sulawesi and Maluku in 1996 and 1997.

- The Appraisal Mission team visited Bengkulu, North Sumatra and Riau Provinces and one district in each province and the proposals prepared by the provincial and district teams were discussed.  As in West Java, proposals have been made to use both government and World Bank funds to renovate primary schools and construct new junior secondary schools.  However, the mechanisms for implementing the renovation, construction and maintenance of schools have not been addressed presumably because the existing systems were thought to be adequate.  Existing primary and junior secondary schools, including some recently built, were visited in each Province (see Annexes 1, 2 & 3) and these visits raised a number of important points with regard to the design of school buildings, the construction and/or renovation process and the maintenance of facilities.

- This report focuses therefore on the main issues affecting primary school renovation and junior secondary school construction.  These are seen as the present generally low standard of renovation and construction; the lack of maintenance of facilities; the lack of involvement of communities in the management of their schools; the waste of resources by the over-provision or the provision of inappropriate facilities; the lack of drinking water and functioning toilets and the provision of inappropriate furniture in many schools.

- ISSUES & RECOMMENDATIONS

- School Mapping and SD/MI Consolidation

  - Issues

School maps have been prepared in all Kabupatens in all Provinces but these vary in quality and completeness. Very few proposals have been made for consolidating existing primary schools.  Unless the school mapping exercise is completed fully, it will be impossible to decide which SD/MI schools can be consolidated and/or renovated under the project and where SLTP/MTs schools are required.

  - Recommendations

The school maps for all Kecamatans should be completed by implementation of the project following the Guidelines prepared for the West Java Basic Education Project.  Proposals should then be made for consolidating schools.  Dinas T&K will be responsible for school mapping in co-operation with the Ministries of Education and Religious Affairs with co-ordination by Bappeda.

- SD/MI School Renovation

  - Issues

Proposals have been made for renovating SD/MI schools in each Province.  The condition of the SD/MI schools visited ranged from very good to virtually unusable.  In general it can be stated that the worst schools are situated away from the District centres.  Many of the SD/MI schools visited had very low lighting levels in the classrooms due to small windows or openings in the rooms. The numbers of schools requiring renovation is very high and the numbers to be renovated under the project may need to be reviewed.  Prefabricated asbestos schools in a very bad state of repair (similar to those in Maluku Province) were seen in Bengkulu Province.  There are also schools that have asbestos ceilings that need replacing.  In Kabupaten Kepulauan Riau, school roofs are being rebuilt with fibre-cement sheets but it is not clear whether they are made of asbestos or not.

  - Recommendations

Because of the large numbers of buildings to be renovated and because existing arrangements for supervision do not seem to be working adequately, proposals have been made for providing technical assistance for supervising the work (see Section E below). There will be severe constraints on the numbers of schools that can be renovated at any one time in areas where villages are remote, scattered or on island locations and this should be planned for.  Preliminary estimates should be prepared of the cost of renovating schools to be included in the project.  More detailed surveys and estimates of the schools to be included in the first year of the project should be made by implementation and detailed annual estimates prepared in the following years.  During renovation, lighting levels in classrooms should be raised by increasing the size of windows particularly on the veranda side of classrooms.  Priority should be given to renovating schools in remote, rural or poor areas.  In Bengkulu Province, priority should be given to replacing prefabricated asbestos schools and to replacing any asbestos elements in schools in the other Provinces. The provincial project preparation team should establish whether the fibre-cement roof sheets being used in Kabupaten Kepulauan Riau are made of asbestos and if they are, they should not be used on project schools.  Guidelines for school mapping are provided elsewhere but guidelines are attached for the renovation of schools (see Annex 4), for carrying out preliminary surveys and preparing cost estimates (see Annex 7).  Surveys should only be carried out at schools to be included in the project.

- School Enrolment

  - Issues

Many schools visited had very low enrollments even though they had a full complement of teachers.  The ratio of teachers to pupils and the distribution of teachers should be reviewed and this is dealt with elsewhere.

  - Recommendations

The number of classrooms or classroom units to be renovated should match the existing or estimated future numbers of pupils and classes in a school and if necessary the number of classrooms should be reduced.  The possibility of building new (or reducing schools to) 1-classroom, 1-teacher schools should be considered in remote locations or where numbers of pupils are low.  Locations for these schools should be noted during the school mapping exercise.  A preliminary design for a 1-teacher school is shown in Annex 4.

- SLTP Construction

  - Issues

The condition of the SLTP/MTs schools visited varied in quality but none were in the state of the worst SD/MI schools.  A general problem in all schools (with a few exceptions) is that the laboratories provided have no water or electricity and are not used at all.  This is a major waste of resources.  Some of the new SLTPs visited (usually the ones away from the Kabupaten centres) were not very well constructed, having major cracks, etc.  There seems to be inadequate supervision of SLTP construction by both consultants and PU leading to a generally low standard of work. Proposals have been made in all Provinces for the construction of varying numbers of SLTP/MTs schools.

  - Recommendations

The numbers of new SLTP/MTs schools proposed in each Province should be reviewed after the school mapping exercise is completed and in the light of the economic crisis to ensure that the schools are necessary and are in the correct locations.  The numbers of SLTP/MTs schools to be constructed might have to be reduced and/or construction might have to be delayed to later in the project. Schools that are proposed to be constructed by the project should be in remote, rural and/or poor areas.  Laboratories should not be built in project schools but a general-purpose room should be provided instead.  The construction of SLTP Kecil schools in remote areas should be considered.  In order to improve the standard of construction of SLTP/MTs schools, the flow of funds should be reviewed in order that sufficient time is available for the purchase and survey of sites, foundation design (if necessary) and for the proper construction of the buildings.  Technical assistance has been proposed to assist with the supervision of the construction of the schools because of the numbers and locations of those that will be eventually built.  Guidelines are attached for proposals for the construction of junior secondary schools (see Annex 5) and revised designs for 3-Classroom and 6-Classroom junior secondary schools are also attached (see Annex 6).

- Classroom Furniture

  - Issues

In all of the schools visited, both SD/MI and SLTP/MTs, the classroom furniture was usually inadequate in number, in a poor state of repair and of the wrong size.  It was very rare to see more than one size of furniture with the result that most children were using furniture that was either too big or too small for them.  There seems to be the capacity to make simple furniture in the villages and some well-made local furniture was seen.

  - Recommendations

As part of the school mapping exercise, a survey of the standing height of a sample of primary and junior secondary age children will be carried out in order that furniture of the correct size for each age group can be provided by the project.  It is proposed to design the furniture in such a way that it can be made and repaired in villages using local timber.  The Consultant Architect attached to the West Java Project will design, in collaboration with the Curriculum Development Centre, a range of standard classroom furniture using data from the survey.  Guidelines for the survey are attached (see Annex 8).

- Water and Toilets

  - Issues

Most schools visited, particularly rural ones, had no water supply (or only a dirty well) and no working toilets.  Sanitation and hygiene are therefore major problems.

  - Recommendations

Proposals should be made and costings included, for the provision of appropriate water supplies (wells) and toilets (pour-flush privies with septic tanks) in all SD/MI schools to be renovated and SLTP/MTs schools to be constructed by the project and, if required, for other schools.  No schools should be built or renovated without the provision of a functioning water supply and appropriate toilets.  Training for teachers in the use of wells and latrines and basic school hygiene and sanitation should also be included in proposals. Programmes have been developed by MoH and UNICEF that could be adapted for use in the project and the Rural Water Supply Group in Jakarta should be contacted by the provincial preparation teams about this.

- Teachers’ Housing

  - Issues

Two types of teachers’ houses were seen, mainly on the sites of SD schools.  They are either small houses or teachers’ quarters (Rumah Guru which consist of two very small rooms and a verandah per quarter).  The latter, with few exceptions, were unoccupied while the houses, unless they were in a dangerous condition, were usually occupied.

  - Recommendations

Proposals can be made for the provision of appropriate teachers’ housing in remote, rural areas or on isolated islands.  For SD/MI schools it might be more appropriate for the community to provide land for a teacher’s house and for the community to be then given a sum of money sufficient to construct the house out of local materials.

- Maintenance

  - Issues

It was obvious from the school visits that, as elsewhere, very little if any money is spent on regular maintenance of school buildings.  Buildings are left until they need complete renovation or replacement rather than being regularly maintained.

  - Recommendations

Proposals should be made for providing an adequate sum of money (1-2% of the construction cost depending on the type of building) for maintenance every year to project schools starting three years after the schools have been renovated or constructed.  Construction of SLTP/MTs schools using project funds will be conditional upon government providing counterpart funds for maintenance.  Annex 10 `The Economics of School Maintenance’ shows the savings to be made by a regular maintenance programme.

- Community Participation

  - Issues

The only common form of community participation in schools at present is through the Parent/Teacher Associations (BT3).

  - Recommendations

In order to give communities more sense of ownership of SD/MI schools and more interest in maintaining them, the funds for renovating primary schools under the project will be given directly to BP3/LKMD who will then manage the construction.  Technical assistance will be provided to assist them in managing and supervising the work.

- CONSTRUCTION IMPLEMENTATION

- Technical Assistance for Construction

  - Issues

To judge by the quality of renovated and newly constructed schools particularly in the more remote locations of the project Provinces, there is a lack of capacity to supervise and monitor construction work.  The effect of the economic crisis and subsequent increases in travelling and subsistence costs, etc for supervisory staff will be to further reduce this capacity.  This lack of capacity together with the fact that the project will be renovating and constructing schools in remote locations, will mean that technical assistance for supervision will be required.  This will be especially so at village level because of the proposed use of BP3/LKMD to implement school renovation.

  - Recommendations

In order to improve the capacity of the Provinces and the Districts to implement the construction aspects of the Project, it is proposed that technical assistance be provided at three levels: a Project Architect at Province level, Construction Co-ordinators at District level and Construction Supervisors at Sub-District level.  Details of the technical team and detailed terms of reference are given in the West Java Project Proposals (see Annex 9) but their responsibilities will include the following:

a. The Project Architect will be responsible for: co-ordinating all construction and training activities; for commissioning local consultants to prepare designs, working drawings and supervise the construction of junior secondary schools; for supervising the work of the District Construction Co-ordinators and the Sub-District Construction Supervisors.

b. The Construction Co-ordinators will be responsible for: co-ordinating the construction and training activities at District level; monitoring and assisting with the supervision of new junior secondary schools by local consultants and monitoring and assisting the Construction Supervisors in the supervision of the renovation of primary schools.

c. The Construction Supervisors will be responsible for: supervising the renovation of primary schools and the construction of new wells and toilets; monitoring expenditure on all renovation and construction work; training school staff in school maintenance and supervising the local manufacture of school furniture.

In a Province such as Bengkulu where the renovation and construction programme is quite small, it might be possible to use local architectural consultants (who could also be employed to carry out schedules of work for SD/MI schools and design and working drawings for SLTP/MTs schools) to carry out the functions of the District Construction Co-ordinators and provide staff to act as Construction Supervisors.

- Additional Technical Resources

  - The West Java Basic Education Project is due to start in September 1998.  An International Consultant Architect with experience in similar projects will be recruited by MOEC to assist the West Java Project Architect in, among other things: reviewing designs for schools and preparing revised designs; designing standard furniture for schools using the data gathered in the standing height surveys of school children; reviewing contract arrangements, defects liability periods, supervision, etc for junior secondary schools; reviewing existing designs for wells and latrines; developing on-the-job training for building and supervisory staff; developing maintenance manuals and training programmes in maintenance for school staff.

  - In order to avoid duplication of work, the revised designs, contract documents, training programmes, etc that are produced should be utilised by the other project Provinces.  The Consultant Architect should assist the other Provinces in selecting Project Architects, consultants and other staff and in monitoring the progress of the Projects.

ANNEX 1: BENKULU PROVINCE

- GENERAL

- Benkulu Province was visited with the Pre-Appraisal Mission between March 29 and April 1 1998.  Meetings were held with the Ministry of Education and the Province implementation team.

- A meeting was also held with PU Cipta Karya to discuss secondary school construction, the purchase of sites for secondary schools, furniture, consultants, contractors, etc.

- Four Kabupatens are included in the project: Kotamadya Bengkulu, Kabupaten Bengkulu Utara, Kabupaten Bengkulu Selatan and Kabupaten Rejang Lebong.  The population of the Province is approximately 1.3 million.

- The Project Implementation Plan proposes that 233 SD/MI schools that require major repairs and 101 schools that require less serious repairs should be renovated under the project.  It also proposes that 31 new SLTP/MTs should be built.

- A visit was made to Kabupaten Rejang Lebong and the project was discussed with the Bupati and the Kabupaten implementation team.  It is proposed that 30 SD/MI schools are renovated and 7 new SLTP/MTs schools are built by the project.  Visits were made to SD, MI, SLTP and MTs schools.

- Kabupaten Rejang Lebong

- SD/MI Schools: The following schools were visited:

Plate 1: SD No.85, Desa Taba Tebelet showing Library, KKG building and derelict quarters

  - SD No.85, Desa Taba Tebelet: The school consists of the original 3-classroom building, 8 units of teachers’ dormitories, a new KKG building and Library.  The classroom building has 3 classrooms, two of which are divided in the middle, and is built of rendered brickwork with timber framed openings with mesh, tiled floors and a corrugated steel roof.  The rooms are dark and the building needs some maintenance.  The KKG building has two rooms and was built 4 years ago of rendered brickwork and concrete columns with timber framed, glazed windows, tiled floors internally and a corrugated steel sheet roof.  The veranda screed is very thin (over a layer of stone) and is breaking up.  One room is used mainly as a library with a curtained off sick bay in one corner and the other room does not appear to be used being full of furniture.  The Library was built at the same time, is of similar construction and does not appear to be used.  There are two toilets that are in very poor condition but in use.  There is a well but the water is dirty and not drinkable.  Drinking water is carried in from off the site.  The site is large and there is adequate play area.  The provision of additional facilities such as the KKG and Library buildings should be carefully considered to avoid the waste of resources seen here.

Plate 2: MI Miftahul Jamah No. 10, Desa Daspateh

  - MI Miftahul Jamah No.10, Desa Daspetah: The school is situated on a small site next to the main road in the centre of the village and consists of one building containing an office and 3 classrooms.  The school has rendered brick walls to a height of approximately 800mm with timber framed panels with rendered bamboo or brick infill above.  The roof is of corrugated steel sheets on timber trusses with a hardboard or similar ceiling.  There are no windows only timber framed openings above door height with steel mesh and the rooms are therefore very dark.  The roof sheets over the office have recently been replaced.  The school has an enrolment of 205 pupils and each classroom is divided into two classes down the middle.  There are adequate numbers of quite well made furniture.  The furniture is however, all the same size resulting in it being too large for the smaller pupils.  There seems to be a high drop-out rate; on the day the school was visited, there were around 90 pupils in Classes 1 and 2, 23 in Class 3, 19 in Class 4, 9 in Class 5 and 11 in Class 6.  The Head Teacher would like to expand the school but there is no space on the site for an extension and his idea of building a second storey would not be appropriate. There is no water supply on the site or any working toilets. It would seem more sensible to look for a larger site with space for additional classrooms, a play area and a well and toilets.

Plate 3: SD No. 7, Desa Ujan Mas showing disintegrating asbestos roof sheets and wall panels

  - SD No.7, Desa Ujan Mas: The school is on the edge of the village with a site for a new SLTP next to it and consists of two classroom buildings, the remains of a 3 unit teachers’ dormitory and what was probably a guardian’s house.  The oldest building consists of 3 classrooms and is built of rendered brickwork with timber framed mesh windows, a corrugated steel sheet roof with a hardboard ceiling.  It is in a very bad state of repair with numerous roof leaks, etc.  The second building consists of 3 classrooms and an office and is constructed of prefabricated asbestos external wall panels with an asbestos sheet roof on steel trusses similar to the asbestos schools in Maluku Province and probably constructed under the same programme in the early 1970s.  It is in an extremely bad state of repair with broken roof sheets and broken wall panels.  It still seems to be used as it has some furniture and blackboards but must be considered positively dangerous firstly because of the danger of collapse and secondly because of the particles of asbestos in the air from the disintegrating panels.  Both classroom buildings are badly underlit.  There is the remains of a well on the site but this has been filled in and there is no water supply or any toilets.  The teachers’ dormitory and the guardian’s house are derelict and unused.  The whole school requires demolishing and rebuilding.

  - SD No.58 Kepahiang, Desa Ujan Mas Bawah: The school is in the middle of the village and consists of two classroom buildings, a guardian’s house, a toilet block and a house for the Head Teacher.  The first classroom building was built in 1980/81 and has rendered brickwork walls to a height of approximately 900mm and timber framing with timber boarding above.  Windows are timber framed openings with wire mesh.  The roof is of corrugated steel sheets and is leaking quite badly.  The screed floor finish is breaking up.  The second classroom building, built in 1981/82 is constructed of rendered brickwork with timber framed openings with wire mesh.  The roof is of corrugated steel sheets and again is leaking badly.  The floors are finished with concrete tiles that are breaking up and subsiding in parts.  Both classroom buildings are badly underlit.  The school has 308 pupils and operates 11 classes in two shifts.  There is not much furniture and what there is, is very dilapidated.  The guardian’s house is now used as the school office and store.  The Head Teacher’s house is still in use but the toilets are derelict and there is no water on the site.

Plate 4: SD No. 58, Kepahiang, Desa Ujan Mas Bawah showing the general condition of the buildings

  - MIN No.09 Durian Depun, Curup: This school shares a site with an Mts and a senior secondary school.  It consists of two classroom buildings with 3 classrooms each and a school office and pupils room.  The buildings are constructed of rendered brickwork with concrete veranda columns, glazed timber windows and floors finished with concrete tiles.  The buildings are not new but are quite well maintained.  The corrugated steel roof sheets will however soon require replacement.  There is running water on the site and toilets (working but not in very good condition) that are shared with the MTs.  When the school was visited, one classroom was being used as an SLTP Terbuka with 7 students in attendance (usually 19; it was raining heavily) and a teacher from a nearby SD school acting as tutor.  The students said that they would like to attend the MTs but could not afford to because of the cost of uniforms, etc.

- SLTP/MTs schools.  The following schools were visited:

  - SLTP Negeri No.5 Curup: A large school in Curup town operating two shifts with 763 pupils.  The original buildings were erected in 1972 and the school has been extended several times since; there is for instance, a new Library building, just completed.  The buildings are well constructed of rendered brickwork up to 800mm with timber framing over with rendered brickwork or bamboo infill panels, timber framed glazed windows and corrugated steel roofs. There is main water on site and 6 working (and very clean) toilets. All the buildings are very well maintained and it is said to be one of the best SLTPs in the Kabupaten.

  - Mts Tarbiyah Islamiyah, Curup: The school is at the rear of a senior technical school and some of its buildings are used by this school in the afternoons.  It consists of 3 classrooms, an office/library and an office for the Head Teacher and is built of rendered brickwork up to 800mm with timber framing above with rendered bamboo or brickwork infill.  Windows consist of open timber framing above 1500mm with mesh and classrooms are very dark.  The roof is corrugated steel sheet and the floors are of screed.  The whole of the construction is very basic.  Enrolment is supposed to be 129 pupils but when visited there were 14 pupils in Class 3, 9 in Class 2 and 5 in Class 1.  There was no explanation of where the missing pupils were and there must be some doubt as to the proper functioning of this school.

Plate 5: SLTP Negeri No. 14, Desa Tempel Nejo showing typical new SLTP construction

  - SLTP Negeri No.14, Desa Tempel Nejo: This is a new standard 9-classroom school complete with library, laboratory, etc. that opened in July 1997.  It is situated in open farmland away from any villages but there are however 6 SD schools in the area to supply pupils.  At present it only operates Classes 1 and 2 and has 148 pupils.  Standard flush toilets have been built and two approximately 50 gallon high-level water tanks have been installed.  There is no electricity on site yet however and no pump has been installed.  There is a drop of approximately 30 metres down to the swamp from which water is to be pumped and it is unlikely that any pump will be able to pump water up that distance.  There is therefore no water on site and no working toilets.  The buildings are wired for electricity but it was not clear whether a generator was going to be supplied and if so, whether there will be funds to cover running and maintenance costs.  The school looks superficially well built with rendered brick walls, concrete veranda columns, tiled floors, timber framed glazed windows and corrugated steel roofs.  However there are large numbers of shrinkage and movement cracks in all the buildings some of them 2 or 3mm wide and the concrete columns show signs of surface cracking.  The school is a good example of the need for better supervision of construction and also of the need to consider the construction of appropriate toilets and water sources especially in rural schools.  If electricity is not essential, costs could be reduced by omitting the electricity reticulation.  Costs could be further reduced by not building the laboratory which will not be fully used if at all, if there is no water or electricity supply.

  - MTs No.130, Durian Depun, Curup: This shares a site with MIN No.09 and is of similar construction. It was closed when visited and therefore details on enrolment were not available but it has a large number of classrooms and other facilities including two new buildings and a room with 3 No. computers.  As with the MI school, the buildings are being very well maintained.

Plate No 6: MTs No.130, Durian Depun, Curup

ANNEX 2: NORTH SUMATRA PROVINCE

- GENERAL

- North Sumatra Province was visited with the Pre-Appraisal Mission between April 2 and April 4 1998.  Meetings were held with the Ministry of Education and the Province implementation team.

- Eight Kabupatens are included in the project: Kotamadya Medan, Kabupaten Langkat, Kabupaten Nias, Kabupaten Sumalungan, Kabupaten Labuhan Batu, Kabupaten Tapanui Utara, Kabupaten Tapanui Tengah and Tapanui Selatan.  The population of the Province is approximately 8.5 million.

- There are at present a total of 6,746 SD/MI and 1,564 SLTP/MTs schools in the Province.  The Project Implementation Plan proposes that 1,200 SD/MI classroom buildings (usually comprising 3 classrooms and an office) that require major repairs will be renovated under the project.  It also proposes that 125 new SLTP/MTs will be built.

- A visit was made to Kabupaten Langkat and the project was discussed with the Wakil Bupati, the head of Bappeda and the Kabupaten implementation team.  It is proposed to renovate 400 SD/MI classroom units in the project.  SD, MI, SLTP and MTs schools were visited.

- Kabupaten Langkat

- SD/MI Schools: the following schools were visited:

  - SD No.050657, Stabat: The school, which was built in 1973 under the Inpres programme, is in Stabat town and operates two shifts and has 18 teachers.  It consists of three buildings, the original building containing 6 classrooms and 2 offices, a new single classroom building for Class 6 and a caretaker’s house.  One classroom is used as a store.  The classroom buildings are constructed of rendered brickwork up to top of door height with open timber framing with steel mesh as windows over and screed floors.  The roof is of corrugated steel sheet with ceilings of plywood.  The original ceilings of these buildings seem to have been of asbestos.  This type of construction is very common in the Kabupaten.  The classrooms are reasonably well lit.  The buildings need some repairs but are generally in good condition although classified as `Rusat Berat’.  The roof sheets and some ceiling panels need replacing, the floor screed needs repairing in places where it is breaking up and some doors need replacing.   There are toilets that require renovating and a well containing dirty water used for the toilets.

  - SD No. 050720, Desa Tanjung Beringin, Kecamatan Hinai: The school is situated off the main road in an oil palm plantation.  It serves the families of workers in the plantation, the main village being about half a mile away, and has approximately 100 pupils.  It was built in 1975 and consists of three buildings: the original building containing 4 classrooms and an office, a library building and a 2-classroom building.  Construction is similar to SD 050657 but the ceilings are asbestos panels.  Again the school needs some repairs but is otherwise in reasonable condition.  The roof sheets need replacing, the asbestos ceiling panels are breaking up and should be replaced immediately and the floors may need some repairs.  There is a toilet block with two toilets and a well inside.  The well is however virtually dry and both toilets are blocked and unusable.  There is no drinking water.  The school has no guardian’s house and seems to have a security problem as the wire mesh windows have been badly damaged and the openings blocked with timber.  There is not much furniture and what there is, is badly damaged.

Plate 7: SD No. 054929, Kamping Barai, Pasar 8 showing typical Inpres construction

  - SD No.054929, Kamping Barai, Pasar 8 & SD No. 050715, Tanjung Beringin, Pasar 8: These schools are both on a large site on the edge of the village.  There is another smaller building across a road used by one of the schools.  There are 168 pupils in one school and approximately 200 in the other.  The schools both have 6 classrooms and an office.  One school has a 3-unit teacher’s dormitory that is in use.  There are two toilet blocks behind the schools one of which is completely derelict.  The other is in very bad condition with only one toilet (pour-flush) usable.  There is no water on site, water being brought in from the village.  The school construction is similar to the two schools above but the ceilings are of plywood.  Some of the screed floors need repairs and the roof sheets and some ceilings need replacing.  The furniture is all the same size and varies from adequate to badly damaged.  The building across the road is used by one school for two classes in the morning and by a Koranic school in the afternoon.  It was previously an SMP school and consists of one building originally divided into three by timber partitions that have now collapsed.  Construction is of rendered brickwork with timber shutters and a screed floor.  There are no ceilings and it is very underlit.  It is in poor condition and needs new roof sheets and a lot of repairs.  There is very little furniture and no toilets or water.

  - SD Mohammadyah, Desa Partai Cermin: This is a branch school on a small site in the middle of the village built by the government in the 1970s and renovated 4 years ago.  The school operates two shifts with 13/14 pupils per class and the teachers for the second shift come from a nearby SD school.  It consists of a 3 classroom building (one classroom is sub-divided into a classroom and an office) and there is also a teachers house and a toilet block on the site.  Construction is similar to the schools above and the buildings are in very good condition.  The roof sheets and ceilings are in good condition and the floors and verandas have been tiled with concrete tiles.  The furniture is adequate and in reasonable condition.  There are timber partitions between the classrooms. There is a three unit pour-flush toilet (with septic tank) at the back of the site that is very clean and in good condition.  There is a well and washing area next to it.  The well is not covered and is dirty but the water is used in the toilets.

  - SD Negeri No.054933, Desa Perkubuan: The school is on large site in the village and was built in 1984.  There are two buildings with 3 classrooms, one with an office.  The school operates one shift and has 215 pupils and 11 teachers.  There is also a head teacher’s house, a guardian’s house and two teachers’ dormitories with two units each.  Both classroom buildings are of similar construction to the schools described above.  The unit with the office has been renovated (date unknown) and has tiled floors and plywood ceilings.  The roof sheets now need replacing again.  It has adequate furniture in good condition but all of the same size.  The other building is in a much worse state; the roof sheets are disintegrating in places, the floor screeds need major repairs (the verandah screed has disappeared completely) and the asbestos ceilings need immediate replacement.  There is very little furniture (Class 3 children were sitting 3 to a desk) and what there is, is in poor condition.  There is a water connection to the office but there was no water running at the time of the visit.  There are two toilet blocks, one of which has been abandoned.  The second is used but is in very bad condition and has no water.

  - MI Kampung Perkubuan: This school consists of two classrooms on a very small site on the edge of the village.  It is built of timber framing and cladding on a concrete base with  very little foundation, with a corrugated steel sheet roof and asbestos ceilings.  The timber boarding is being repaired but the roof sheets and ceiling panels need replacing.  There were no teachers or children present even though it was only midday.  One classroom was obviously not being used as it was full of furniture and other materials.  The school is supposed to have 86 pupils with two classes to a room.  There must be some doubt however that the school is actually operating.  There are no toilets or water on the site.

Plate 8: SD Negeri No. 054933, Desa Pekabuan showing small window openings

- SLTP/MTs schools.  The following schools were visited:

  - SMP No. 3, Kecamatan Tanjung Pura: This is a large junior secondary school on a large site at the edge of a village.  There are four original buildings with classrooms, library, offices and a laboratory and three new buildings consisting of another laboratory a 2-classroom unit and a 4-classroom unit.  There are 365 pupils and 13 classrooms in total. Buildings are constructed of rendered brickwork with concrete columns, asbestos ceilings and tiled floors and verandas.  The original buildings have corrugated aluminium, and the new ones corrugated steel, roofs.  Four of the classrooms are not used, nor is the original laboratory (although it has been renovated recently) which has no furniture and the new laboratory, although furnished also does not appear to be used.  All buildings are wired for electricity but there appears to be no main supply.  There is no main water supply and the toilets are not working.  The buildings are in reasonable condition but there are some roof leaks, some ceiling panels are breaking up and a lot of the verandas are subsiding.  This school is another example of extra facilities being provided which are not required and also of the waste of resources in providing fully equipped laboratories in rural areas.

Plate 9: SMP No. 3, Kecamatan Tanjung Pura showing unused laboratory

  - MTs Miftahal Ula, P. Merbon, Desa P. Cengal, Kecamatan Tanjung Pura: The school shares a small site in the village with a mosque and a volley ball court and a handball court.  The school was built, out of locally available materials, by the owner of the site who also built the mosque and who has a house (which contains the school office) at the rear.  The original 1-classroom building, built in 1993, is constructed of rendered brickwork up to 800mm with timber framing and boarding to 1500mm and open framing or bamboo matting up to eaves level and a minimal screed floor (which is breaking up badly).  Two more classrooms built of minimal timber framing and bamboo matting and a beaten earth floor have been added to the original.  The whole building has a thatched roof.  A toilet block with a well inside is shared with the houses around.  The school has one pour-flush privy that is very clean and well kept and that drains to a septic tank.  The school has 9 teachers and operates two shifts with 49 pupils in the morning and 32 in the afternoon.  The owner is rightly very proud of his school but does not have funds to maintain it and would like help from government to build proper classrooms.

Plate 10: MTs Miftahal Ula, P. Merbon, Desa P. Cengal showing temporary nature of buildings

ANNEX 3: RIAU PROVINCE

- GENERAL

- Riau Province was visited with the Pre-Appraisal Mission between April 6 and April 9 1998.  Meetings were held with the Governor, the Ministry of Education, Bappeda and the Provincial implementation team.

- Four Kabupatens are included in the project: Kabupaten Bengkalis, Kabupaten Inderagiri Hiur, Kabupaten Kampar, and Kabupaten Kepulauan Riau.  The population of the Province is 3.7 million.

- There are 3,496 existing SD/MI schools both government and private and the Project Implementation Plan proposes that 125 SD/MI classroom buildings (usually comprising 3 classrooms and an office) that require major repairs will be renovated under the project.  It also proposes that 14 new 6-Classroom and 68 new 3-Classroom SLTP/MTs will be built.

- A visit was made to Kabupaten Kepualauan Riau and the project was discussed with the  head of Bappeda and the Kabupaten implementation team.  It is proposed to renovate 25 SD/MI buildings and build 18 new SLTP/MTs schools under the project.  SD, MI, SLTP and MTs schools were visited on Bintan Island.  It should be noted that there are 1,062 islands in the Kabupaten and communications, supervision, etc are extremely difficult.

### KABUPATEN KEPALAUAN RIAU

- SD/MI Schools: the following schools were visited:

  - SD Negeri No. 22 Tanjung Pinang Timur: Built in 1985 the school is situated on a fairly large site and consists of two 3-classroom buildings, one with an office and two teacher’s houses, both occupied.  The classroom buildings are constructed of timber framing and boarding on low concrete walls with screed floors, plywood ceilings and corrugated steel sheet roofs.  Windows consist of open timber framing over door height on the veranda side and louvre windows on the other side.  There are timber partitions between classrooms and the classrooms are very dark.  There is no water supply on the site but there is main water in the village.  Only half the toilets are working (two pour-flush privies with a water storage tank) and water is brought in from the village.  The school has 158 pupils, 16 teachers and 4 admin staff.  The school needs maintenance, the roof sheets and louvre carriers need changing and veranda and classroom screeds are breaking up.  There is adequate furniture but a lot of it is too large.  The site is prone to flooding.

  - MI Negeri, Jalan I R Sutam Km 4, Tanjung Pinang Timor: The school is next door to the one above and was built in 1981.  It consists of two 3-classroom buildings (one building can be opened up into one large space), each with an office.  There are pour-flush privies at the end of each block but no main water.  There is a well but this is dry in the dry season and water is brought in by bucket. The buildings are constructed of rendered brickwork, concrete columns, tiled floors and verandas and asbestos roofs with glass louvres in timber frames.  There is also a house for the Head Teacher at the rear of the site built of timber.  There are 102 pupils, 12 government teachers, 2 non-government teachers and 2 admin staff.  The school is quite well built but needs some maintenance. There are some roof leaks and the buildings need painting.  There is some quite well made furniture in a variety of sizes.

  - SD Negeri No. 006, Yudowinangun, Kecamatan Tanjung Pinang Barat: The school is on a large site in a kampung and consists of two buildings constructed in 1977 of timber framing, timber boarding, corrugated steel roofs and screed floors.  There is open framing with mesh for windows, at high level on the veranda side and at normal window height on the other side and the classrooms are very dark.  There is also a new building containing a teachers’ room built of rendered brickwork with glazed louvres in timber frames and a screed floor.  Of the original two buildings, one was renovated two years ago and now has a fibre-cement roof and glass louvres.  The other building is partly derelict as the roof timbers have been eaten by termites and has had to be propped up in places.  It requires new roof timbers and roof sheets, one classroom is however still in use.  There is a toilet block behind the school which is in use and is clean and looked after, a new concrete lined well (no cover) with plenty of water and two new teachers’ houses built of rendered brickwork.  There are also two timber framed teacher’s houses at the front of the school.

Plate 11: SD Negeri No. 006, Yudowinangun showing termite damage to classroom

  - SD Negeri No. 031, Cikolek, Kecamatan Bintan Timur: The school was built in 1983 and consists of one 3-classroom building, a toilet block converted into a small classroom, a house for the Head Teacher and two semi-detached teachers’ quarters, all on a large site on the edge of the village.  The buildings are constructed of rendered brickwork up to 500mm with timber framing and boarding above, screed floors, plywood ceilings and corrugated steel roof sheets.  The classrooms are lit from continuous openings above door height on the veranda side and larger timber framed openings with steel mesh on the other side.  The classrooms are rather dark.  One half of one of the teachers’ quarters has been turned into a school office and the other half is derelict.  The other teachers’ quarter has been renovated recently and is occupied.  The Head Teacher’s house is completely derelict, the Head Teacher living elsewhere.  The classroom building requires a new roof, new ceilings, painting and other maintenance work.  There are no toilets for the school or water on the site (there is a well but it has been filled in), water is carried up to the site from a nearby river.  The houses have toilets but no main water and the office has a new gutter draining to a small storage tank at the back.  The school has 130 pupils and 5 teachers.

Plate 12: SD Negeri No. 031, Cikolek showing converted toilet building used as classroom

  - SD Negeri No 010, Gesek, Kecamatan Tanjung Pinang: The school consists of two buildings.  The first has two classrooms and is of similar construction to the school above but has louvre windows on the side away from the veranda.  The rooms are very dark, the ceilings and floors are in reasonable condition but the roof sheets need replacing.  The second building that has three classrooms and an office, was completely rebuilt two years ago of rendered brickwork with and fibre-cement roof, tiled floors and verandas and glass louvres.  It has electricity and the lights were on because the rooms were so dark!  There are toilets at the end of the building but it was unclear if they are used as they were locked up.  There is a new, concrete lined well behind the school.  There are also 2 semi-detached teachers quarters and a house for the Head Teacher, all in use.  There are 133 pupils and 8 teachers.  One class is held in the afternoon, as there are only 5 classrooms.  See cover photograph.

- SLTP/MTs Schools: The following schools were visited:

  - SLTP No. 3, Kecamaten Tanjung Pinang Timur: The school is situated on a sloping site of 4,485 m² in Tanjung Pinang town.  The original buildings were constructed in 1965 and it has been extended since.  The earlier buildings are built of timber framing with timber boarding on a concrete base with glazed top-hung timber windows, corrugated asbestos roofs and very high ceilings.  The later buildings, which step up the hill behind the original ones, are built of rendered brickwork with louvre windows.  There is water and electricity on the site and there are working toilets (pour-flush privies with a septic tank) which are clean and well kept.  The library which does not have many books is clean and tidy and obviously used as is the laboratory (one of the few labs seen that actually is used as a lab!).  The school has 550 pupils with 4 classes per year and 14 teachers. It has adequate numbers of furniture in reasonable condition.  The buildings are well maintained and the school is in very good condition as it should be being in the Kabupaten centre.

  - MTs Negeri, Tanjung Pinang Timur: The school is on a large sloping site and has been built in three phases, the first in 1979.  The school now has 23 classrooms, a library, a school office and a room for BP3.  There are also toilets and a water storage tank.  The third phase was built in 1995/96 by ADB.  All buildings are constructed of rendered brickwork, tiled floors and verandas, louvre windows in timber frames and fibre-cement roofs.  The school has 480 pupils in 12 classes.  Most pupils are not local and live in dormitories close by. All school buildings are quite well constructed but there has been virtually no maintenance with the result that several classrooms have been abandoned.  All buildings except the last phase have roof gutters all round and all gutters are blocked and the surrounding timber is rotting.  All roofs on the original buildings are leaking.  The toilets have also been abandoned and there is no water on site.  The school now has surplus and derelict classrooms together with new buildings provided by ADB.  It would obviously have been a better use of resources to have renovated the existing buildings rather than building new ones.  The school buildings also show the inadvisability of providing roof gutters in the tropics especially where there will be little or no maintenance.

Plate 13: MTs Negeri, Tanjung Pinang Timur showing roof gutters

  - MTs Swasta Miftahal Umum: The school is a private school for approximately 50 orphans and shares the facilities with two other senior schools, an MA and a STIT which operate in the afternoon.  It is located in the centre of town and consists of a U-shaped building constructed of rendered brickwork and concrete columns with pivoted timber glazed windows, corrugated asbestos roofs and tiled floors and verandas.  There are six classrooms, three offices, a library and a prayer room.  There are also dormitories for the students on the site.  There are working pour-flush privies and an uncovered well with plenty of water.  The school is well built and in good condition but needs painting.

  - SLTP No. 3, Km 33 Gesek, Kecamatan Tanjung Pinang: The school is probably 20 years old but was renovated in 1997.  It has 488 pupils, 23 teachers and occupies a large sloping site on the edge of a village.  The school consists of a 3-classroom building which also contains the school offices and a computer room (with 8 computers); three 2-classroom units; a laboratory which is used but has no water; a new building containing a games room and a canteen; a new library and toilets which have water and are functioning.  All buildings are constructed of rendered brickwork with glass louvres in timber frames or top-hung timber windows, corrugated steel or fibre-cement roofs and tiled or screed floors.  All buildings have electricity.  It is a good school and has the support of the community that is obviously fairly prosperous.  The school is also the centre for SLTP Terbuka No.1 and has 143 pupils who are supervised by local primary school teachers in 10 locations.  Teachers from the SLTP visit each location once a month in the afternoons.

Plate 14: SLTP No. 3, Km 33 Gesek, Kecamatan Tanjung Pinang

ANNEX 4: GUIDELINES FOR THE RENOVATION OF SD/MI SCHOOLS

- Criteria

  - Having established which schools will be retained after consolidation, proposals should be made for renovating the schools to be included in the Project using the following criteria:

a. Priority should be given to renovating schools in remote, rural or poor villages.

b. In Benkulu Province, priority should be given to replacing schools built of prefabricated asbestos panels that are in a dilapidated condition.

c. In areas where, because of the small numbers of children or other reasons, consolidation of schools is not possible but schools are in need of renovation, priority should be given to renovating schools in remote, rural or poor areas.

d. The existing balance between SD and MI schools should be maintained when making proposals for renovating schools.

- Renovations

  - Schedules should be prepared for each existing SD/MI school that is being retained, of all necessary repairs (including construction of solid walls between classrooms to reduce sound transmission) and renovations together with estimates of cost.

3. 1-Teacher Schools

  - A new design will be prepared by the Consultant Architect attached to the West Java Project, for a 1-Teacher School.  The school will consist of one, larger than standard classroom (12 x 7 metres), an office and store (4 x 7 metres) and separate, appropriate toilets and a well.  See sketch attached.

- Provision of furniture

  - Schedules should be prepared showing of the amount of furniture required by the renovated schools.  A simple method should be proposed to allow head teachers to dispose of broken and worn out furniture in order that it does not take up valuable classroom or storage space.

- Provision of drinking water and toilets.

  - Proposals should be made for the provision of adequate supplies of clean drinking water on sites that have no reliable main water supplies, through the construction of covered wells and for toilet provision on sites that have no consistent main water supplies through the construction of pour-flush privies or other appropriate toilets.

Note: See Annex 7: Guidelines & Standard Forms for use in the Preliminary Survey of the Physical Condition of Primary Schools for details of preparing schedules and costs of renovations, etc.

Fig. 1: PROPOSED 1-TEACHER PRIMARY SCHOOL

ANNEX 5: GUIDELINES FOR PROPOSALS FOR THE CONSTRUCTION OF JUNIOR SECONDARY FACILITIES

# Criteria for Junior Secondary School Construction

  - The Kabupatens, assisted by the Provincial authorities, should prepare proposals for the construction of new junior secondary school facilities (SLTP/MTs) based upon the following criteria:

- Location of all existing schools and projected future needs

- Present and projected numbers of children of junior secondary school age

  - Location of schools

- The school map prepared for the SD school mapping exercise should also be used to show the location of all government, religious and private SLTP/MTs schools and their catchment areas.  The schools should be numbered and identified for cross-referencing purposes.

- The size, condition, ownership and adequacy of the existing site of each school should be established together with it’s physical access; i.e. whether by road or track, by vehicle or foot, ease of access, etc.

- The availability or otherwise of sites should be established, including those that may have been vacated by SD schools during the consolidation process, for schools that will be required during the life of the project.  The cost of land should be determined and whether communities are prepared to donate sites for schools, with or without compensation.

- The numbers and qualifications of teachers at all SLTP/MT schools in the Kecamatan and the numbers required for any proposed new schools should be established.

2. Children of junior secondary school age

- The number of pupils in each of the existing SLTP/MTs schools, government, religious and private, in all Kecamatans, by class, age and sex should be determined.

- Estimates should be prepared of the numbers of junior secondary school age children in each settlement in all Kecamatans through the life of the project and thus the annual need for SLTP/MTs places and new SLTP/MTs schools.

# B. Proposals for Junior Secondary School Construction

When the location of existing junior secondary schools, numbers of children, etc. have been established, the Kabupatens, assisted by the Provincial authorities, should prepare detailed proposals for the construction of new SLTP/MTs schools by the project. These proposals should include the following:

1. Location and construction of new schools.

- The location and size of all existing SD/MI and SLTP/MTs schools and their catchment areas should be shown on the school map.

- Proposals should be made for the use of sites vacated by SD schools through the consolidation process for SLTP/MTs schools where these sites are in locations where they can serve the junior secondary age group within a radius of 5 kilometres.  The size of the site for a 6-classroom school should be a minimum of 6,000 square metres.

- The location and size of any proposed new SLTP/MTs schools should be shown together with the cost and procedure for acquiring the sites if necessary.  The construction of new SLTP/MTs schools on new sites should only be considered after other alternatives such as the use of vacated SD sites or the expansion of existing SLTP schools, has been explored.

- Only Type D (6-classroom) or Type E (3-classroom) SLTP/MTs schools should be proposed to be funded by the project.

- SLTP/MTs Kecil (Type E) schools should be proposed where the number of SD feeder schools will ensure a minimum of about 30 graduates a year within a maximum radius of 5 kilometres or alternatively, a one-hour trip.  SLTP Kecils should be given priority in remote rural areas or island locations.

- Schools to be funded by the project should only be proposed in remote, rural or poor villages.

- Proposals should be made for the use of SD schools for SMP Terbuka or Kelas Jauh (distance class) schools after all other options have been considered.

- The availability and qualifications of teachers in the Kecamatan and future needs for teachers should be established once a plan for the construction of schools has been completed.

2. Provision of furniture

- Schedules should be prepared of numbers and sizes of furniture required by new schools.

- A simple method should be proposed that would allow head teachers to dispose of broken and worn out furniture in order that it does not take up valuable classroom or storage space.

- Provision of drinking water and toilets

Proposals should be made for the provision of adequate supplies of clean drinking water on sites that have no consistent main water supplies, through the construction of covered wells; and for the adequate provision of toilets on sites that have no consistent main water supplies through the construction of pour-flush latrines or other appropriate toilets.

4. Facilities to be provided

The following facilities will be provided at project schools:

- Type D, 6-classroom school: 6 classrooms, a library, a multipurpose room, an office for the Head Master, a Teachers’ office, a sick-bay, a canteen and a store.

- Type E, 3-classroom school: 3 classrooms, a multipurpose room, an office for the Head Master, a Teachers’ office and a store.

- Toilets will be provided separately from the main buildings.

- Generators, electric pumps, etc will not be provided at project schools.

See Annex 6: Junior Secondary School Design for a review of existing school designs and proposals for revised designs.

5. Construction Implementation

Construction of project schools should start, at the latest, by the end of August of the year in which they are being financed.  Retention funds (5% of cost of construction) should be held over for 12 months after the date of completion.

# ANNEX 6: JUNIOR SECONDARY SCHOOL DESIGN

# Review of existing designs

- A brief review was undertaken for the West Java Project of the latest designs prepared by the Ministry of Education for 3- and 6-classroom Junior Secondary Schools.  Further work was carried out on these designs after returning from the Sumatra mission.

- The main points raised by the review were:

- The number of subsidiary rooms could probably be reduced.

- All rooms should face north/south to avoid sun penetration.  The present layouts where some rooms face east/west will mean that these will become very uncomfortable in the mornings and afternoons due to solar heating.

- The provision of laboratories with fixed tiled benches, sinks and floor ducts is a waste of resources.  Very few if any laboratories in rural schools are used as intended as most of these schools do not have electricity or running (or any) water.  It would be more cost-effective to provide a multi-purpose room, larger than a standard classroom, with no fixed benches or services that could be used for the teaching of science or other activities.

- Generators and electric pumps should not be provided.

- Toilet provision in rural schools will probably take the form of pour-flush privies or pit-latrines because of the lack of running water.  These should be placed away from the main school buildings to avoid problems with smells, etc.

# Proposed new designs

- The following facilities are proposed for 3-classroom junior secondary schools:

a.    3 classrooms @ 9 x 7 metres	63 m² x 3		189 m²

b.    Multi-purpose room, office and store @ 7 x 15 metres	105 m²

c.    Headmaster’s office @ 7 x 3 metres			  21 m²

d.    Teachers’ office @ 7 x 4 metres				  28 m²

e.    Store @ 7 x 2 metres					  14 m²

Total 	357 m²

- The following facilities are proposed for 6-classroom junior secondary schools:

a.     6 classrooms @ 9 x 7 metres 	63 m² x 6		378 m²

b.     Multi-purpose room, office and store @ 7 x 15 metres	105 m²

c.     Library and office @ 7 x 12 metres 			  84 m²

d.     Headmaster’s office @ 7 x 3 metres			  21 m²

e.      Teachers’ office @ 7 x 6 metres				  42 m²

f.      Sick bay @ 7 x 3 metres				  21 m²

g.     Canteen @ 4 x 3 metres					  12 m²

h.     Store @ 7 x 3 metres					  21 m²

Total   684 m²

- Typical layouts for the two types of school are shown on the following two pages

Fig. 2: PROPOSED 3-CLASSROOM JUNIOR SECONDARY SCHOOL

Fig 3: PROPOSED 6-CLASSROOM JUNIOR SECONDARY SCHOOL

ANNEX 7: GUIDELINES & STANDARD FORMS FOR USE IN THE PRELIMINARY SURVEY OF THE PHYSICAL CONDITION OF PRIMARY SCHOOLS

A. INTRODUCTION

1. There are large numbers of primary schools that are in a very poor state of repair.  There are also many primary schools that are being under-utilised.  A school mapping exercise has been proposed therefore that will determine which primary schools can be closed or consolidated with nearby schools and, after this consolidation process is completed, which schools will be renovated under the project.

2. As part of the school mapping exercise it has been proposed that preliminary surveys are undertaken of the primary schools that are being retained after consolidation and renovated under the project in order to ascertain how large their sites are, how many buildings there are on the site, what the buildings are constructed of and what level of repair or reconstruction is required.  These guidelines have been prepared in order to assist the District teams who will be undertaking this work.

3.	There will of course, be instances where, because of the age or condition of the buildings, it will be difficult to classify the buildings or decide whether they can be renovated or not.  The team should in these cases concentrate on collecting the essential data and leave any resolution of the problems until detailed surveys are carried out by local architectural consultants.

4. The main purpose of these guidelines is to provide a methodology that will allow relatively unskilled personel to carry out surveys of the physical condition of school buildings, to determine whether any additional buildings are required and to prepare preliminary estimates of the cost of bringing the buildings up to a reasonable state of repair.

5.  It is important to remember that these guidelines are intended to assist in the preparation of preliminary surveys only.  Detailed surveys of and schedules of work for, the schools that are being retained will have to be carried out by local consultants before renovation work can start.

B. SURVEY TEAMS

1.	The survey teams should ideally consist of two people as this will ease collection of data.  On arrival at the school, for instance, one member can interview the Head Teacher and collect data on the age of school, number of pupils, etc while the other member can prepare sketch plans of the site and buildings (see Section C below).  These will be used when completing Form SDS/3: General School Data.

2.	When surveying the actual buildings, one member can call out the overall dimensions and condition of the room being surveyed while the other can record this and any other relevant information.

C. PREPARATION OF SKETCH PLANS OF THE SCHOOL SITE & BUILDINGS

1.  On arrival at the site, a sketch plan should be prepared of the site showing the school buildings (Form SDS/1: Site Layout).  Schools quite often have a line diagram of the school site showing the buildings but if this is not available, one will have to be made.  It need not be drawn to scale but it should be done carefully so that it shows a reasonably accurate picture of the school site and buildings.

2.  Fortunately there is usually a great deal of standardisation in school buildings i.e. classrooms are usually the same size, verandas the same widths, columns are usually at the same centres, two-storey buildings usually have the same size rooms one over the other, etc which greatly simplifies the task.  The use of squared paper will also help as will assuming that each square equals say one or two metres, whichever is more convenient.

3.  Having prepared a sketch plan of the site, the various buildings should be identified and numbered for cross-referencing on Form SDS/3.  A `building’ generally refers to a building that is separated from others on the site (see Figure 1 below).

Figure 1: Sketch plan of typical school site.

4.  On many sites, it will be found that small and inadequate (and often temporary) buildings have been constructed because of the shortage of accommodation.  The team would be well advised, while indicating their position on their sketch, to exclude them from their survey on the grounds that they are difficult to categorise and will probably be demolished when the school is renovated.

5.  The next step is to prepare a simple sketch plan of each building (form SDS/2: Building No. 1, etc) showing the various rooms (see Figure 2 below).  The rooms should be numbered consecutively and the number will be cross-referenced and entered into column 1 of Form SDS/5: Internal Condition of Buildings.

Figure 2.  Sketch plan of typical classroom building

D.  CLASSIFICATION OF BUILDINGS

1.  Three classes of construction are proposed in Annex A: Classification of Buildings, for use in making preliminary estimates of the cost of the repair and renovation of primary schools that will be retained after consolidation and for estimating the cost of providing any additional facilities that might be required to bring the school up to standard.

E.  COST OF RENOVATIONS & EXTENSIONS

1.   At present, when primary schools are assessed for renovation they are placed in one of four categories and these are shown in Table 1 below.

| Category | Definition | Expected cost of repairs |
| --- | --- | --- |
| Rusak ringan (Minor repairs) | Generally usable; needs minor repairs. | Below Rp10million |
| Rusak sedang (Moderate repairs) | More extensive repairs required, usually to the roof; still usable. | Rp10million-Rp40million |
| Rusak berat (Major repairs) | Needs extensive repairs to roof, floor, etc; cannot be used. | Rp40million-Rp60million |
| Rusak total (beyond repair) | Building must be demolished (at least down to foundations) and re-built. | Rp90million-Rp100million |

Table 1: Categories of repairs required for renovation

2.  The costs indicated in Table 1 are those for Subang District, West Java Province for 1997/98.  The current costs should be substituted for whichever District is being mapped.

3. While the four categories of cost indicated above will still have to be used, the information collected on Forms SDS/5 and 6 should help to give a more accurate indication of the current state of the buildings and thus whether they should be retained, renovated, etc.

4.  If additional accommodation such as classrooms is required, these should be costed using the current square metre costs issued by BAPPENAS for whichever District is being mapped.

F.  PRIMARY SCHOOL SITES

1.  The standard size of a primary school site has been set by MOEC at 3,000m2.  However, many sites, especially in the urban areas, will not meet this standard.

2.  In these cases, the Survey Team should merely record the area of the school site as it exists and make some enquiries of the Head Teacher or in the surrounding community, as to whether there is any possibility of obtaining additional land adjacent to the school and, if this might be possible, at what cost.

G.  SURVEY FORMS

1.  In order to assist the Survey Team in carrying out their task, a number of standard forms have been devised.  If the teams complete these forms methodically, they will find that the process of assessing the condition of the school and the cost of renovation is much simplified.  The forms are attached and are as follows:

a.  SDS/1: Primary School Survey: Site Layout

b.  SDS/2: Primary School Survey: Building No.

c.  SDS/3: Primary School Survey: General School Data

d.  SDS/4: Primary School Survey: Detailed Information on the Use of Facilities

e.  SDS/5: Primary School Survey: Details of the Internal Condition of Buildings and 	Furniture

f.  SDS/6: Primary School Survey: Details of the External Condition of Buildings

- g. SDS/7: Primary School Survey: Total Cost of Renovating and Extending School

| SDS/1 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| SITE LAYOUT |

| SCHOOL: | NUMBER: |
| --- | --- |
| VILLAGE: | DISTRICT: |
| Surveyed by: | Date: |

| SDS/2 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| BUILDING No: |

| SDS/3 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| GENERAL SCHOOL DATA |

| SHORT DESCRIPTION OF BUILDINGS |
| --- |
|  | Building 1 | Building 2 | Building 3 | Building 4 |
| Construction date |  |  |  |  |
| Built by | Contract./Comm. | Contract./Comm. | Contract./Comm. | Contract./Comm. |
| Number of floors |  |  |  |  |
| Type of roof |  |  |  |  |
| Type of walls |  |  |  |  |
| Structure: 2-storey |  |  |  |  |
| Type of ceilings |  |  |  |  |
| Type of floor |  |  |  |  |
| Windows/doors |  |  |  |  |
| Type of columns |  |  |  |  |
| Classification of building |  |  |  |  |

| GENERAL INFORMATION ABOUT THE SITE |
| --- |
|  | Any sports facilities: |
| Approximate area of buildings | m2 |  |
| Approximate area of playground | m2 |  |
| Approximate area of school garden | m2 |  |
| Approximate area for parking | m2 |  |
| Total Area of Site | m2 |  |

| SERVICES: |  |
| --- | --- |
| Electricity (during school hours) | Yes/No |  |
| Main Water (during school hours) | Yes/No |  |
| Flush Toilets (working) | Yes/No |  |
| Septic Tank (working) | Yes/No |  |
| Well (with water) | Yes/No |  |
| Pump for well (working) | Yes/No |  |
| Water Storage Tank | Yes/No |  |
| Latrines (working) | Yes/No |  |

GENERAL COMMENTS OR FURTHER INFORMATION:

| SDS/4 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| DETAILED INFORMATION ON USE OF FACILITIES |

| USE OF FACILITIES: |
| --- |
| MORNING SCHOOL | AFTERNOON SCHOOL |
| School 1 | G/P | School 3 | G/P |
| School 2 | G/P | School 4 | G/P |

| TOTAL NUMBER OF PUPILS: |  |
| --- | --- |
| SCHOOL 1 |  | No. of Pupils |  | SCHOOL 3 |  | No. of Pupils |  |  |
|  | No. | M | F | Tot. | Av. |  | No. | M | F | Tot. | Av. |  |
| Class 1 |  |  |  |  |  | Class 1 |  |  |  |  |  |  |
| Class 2 |  |  |  |  |  | Class 2 |  |  |  |  |  |  |
| Class 3 |  |  |  |  |  | Class 3 |  |  |  |  |  |  |
| Class 4 |  |  |  |  |  | Class 4 |  |  |  |  |  |  |
| Class 5 |  |  |  |  |  | Class 5 |  |  |  |  |  |  |
| Class 6 |  |  |  |  |  | Class 6 |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  | TOTAL |  |  |  |  |  |  |
| Teachers |  |  |  |  |  | Teachers |  |  |  |  |  |  |
| Other Staff |  |  |  |  |  | Other Staff |  |  |  |  |  |  |
| SCHOOL 2 |  | No. of pupils |  | SCHOOL 4 |  | No. of pupils |  |  |
|  | No. | M | F | Tot. | Av. |  | No. | M | F | Tot. | Av. |  |
| Class 1 |  |  |  |  |  | Class 1 |  |  |  |  |  |  |
| Class 2 |  |  |  |  |  | Class 2 |  |  |  |  |  |  |
| Class 3 |  |  |  |  |  | Class 3 |  |  |  |  |  |  |
| Class 4 |  |  |  |  |  | Class 4 |  |  |  |  |  |  |
| Class 5 |  |  |  |  |  | Class 5 |  |  |  |  |  |  |
| Class 6 |  |  |  |  |  | Class 6 |  |  |  |  |  |  |
| TOTAL |  |  |  |  |  | TOTAL |  |  |  |  |  |  |
| Teachers |  |  |  |  |  | Teachers |  |  |  |  |  |  |
| Other Staff |  |  |  |  |  | Other Staff |  |  |  |  |  |  |

| USE OF ROOMS: |  |
| --- | --- |
| TYPE OF ROOM | Total | Sch.1 | Sch.2 | Sch.3 | Sch.4 | Comments |  |
| Classroom |  |  |  |  |  |  |  |
| Library |  |  |  |  |  |  |  |
| Multi-purpose Room |  |  |  |  |  |  |  |
| Arts Room |  |  |  |  |  |  |  |
| Prayer Room |  |  |  |  |  |  |  |
| Head master |  |  |  |  |  |  |  |
| Office |  |  |  |  |  |  |  |
| Teachers’ Room |  |  |  |  |  |  |  |
| Store |  |  |  |  |  |  |  |
| Washroom |  |  |  |  |  |  |  |
| Teachers’ toilets |  |  |  |  |  |  |  |
| Pupils’ toilets |  |  |  |  |  |  |  |
| Caretaker’s house |  |  |  |  |  |  |  |
| Teacher’s house |  |  |  |  |  |  |  |

| SDS/5 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| DETAILS OF THE INTERNAL CONDITION OF BUILDINGS |
| BUILDING No: | BUILDING CLASSIFICATION: |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 |
| Room | Use | Dims. | Area | Ceiling | Floor | Walls | Doors/Wind. | Black board | Desk/ Teach. | Desk/ Pupils | Chairs Teach. | Chairs/Pupils | Cupbds | Comments ie any water, electricity, illumination. |
| 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Total Area |  |  |  |  |  |  |  |  |  |  |  |  |
| Condition Category of Elements |  |  |  |  |  |  |  |  |  |  |  |
| Numbers of useable and/or repairable Desks, Chairs & Cupboards available |  |  |  |  |  |  |
| Condition category of Room (Total of condition category of elements divided by number of elements) |  |  |
| CONDITION CATEGORY OF BUILDING (Total of condition category of rooms divided by number of rooms) |  |

| SDS/6 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| DETAILS OF THE EXTERNAL CONDITION OF BUILDINGS & THE COST OF RENOVATION |
| BUILDING | Building 1 | Building 2 | Building 3 | Building 4 | Building 5 |
| Construction element | Category | Category | Category | Category | Category |
| Roof: |  |  |  |  |  |
| Walls: |  |  |  |  |  |
| Veranda Floor: |  |  |  |  |  |
| External Category |  |  |  |  |  |
| Internal Cat. (SDS5) |  |  |  |  |  |
| Total Cat. Condition |  |  |  |  |  |
| Total Area (from SDS5) |  |  |  |  |  |
| Circulation 20% |  |  |  |  |  |
| Total area |  |  |  |  |  |
| Cost of renovation |  |  |  |  |  |
| TOTAL COST OF RENOVATION |  |  |
| Services |  |  |  |
| Main water supply |  |  |  |
| Well/pump |  |  |  |
| Septic tank |  |  |  |
| COST OF SERVICE REPAIRS |  |  |
| Furniture | Numbers x cost | Total cost |  |
| Chairs (SDS5) |  |  |  |
| Desks (SDS5) |  |  |  |
| Cupboards (SDS5) |  |  |  |
| COST OF FURNITURE |  |  |
| TOTAL COST OF RENOVATIONS: BUILDINGS/SERVICES/FURNITURE |  |  |

| SDS/7 | PRIMARY SCHOOL SURVEY |
| --- | --- |
| TOTAL COST OF RENOVATING & EXTENDING SCHOOL |

| EX ISTING ACCOMMODATION |
| --- |
| COST OF RENOVATING EXISTING BUILDINGS |  |
| COST OF RENOVATING EXISTING SERVICES/SANITATION |  |
| COST OF NEW FURNITURE REQUIREMENTS |  |
| TOTAL COST OF RENOVATION |  |
| ADDITIONAL ACCOMODATION, FURNITURE & FACILITIES REQUIRED |
| Accommodation | Number x Cost | Total Cost |
| Classrooms |  |  |
| Offices |  |  |
| Other rooms |  |  |
| Teachers’ desks |  |  |
| Pupils’ desks |  |  |
| Teachers’ chairs |  |  |
| Pupils’ chairs |  |  |
| Cupboards |  |  |
| Lavatories/Pupils |  |  |
| Lavatories/Teachers |  |  |
| Main water connection |  |  |
| Latrines/Pupils |  |  |
| Latrines/Teachers |  |  |
| Well |  |  |
| Hand-pump |  |  |
| COST OF ADDITIONAL ACCOMMODATION & FACILITIES |  |
| TOTAL COST OF RENOVATION & ADDITIONAL ACCOMMODATION & FACILITIES |  |
| ADD 10% FOR CONTINGENCIES |  |
| TOTAL COST OF RENOVATIONS & ADDITIONS |  |

Attachment A: PRIMARY SCHOOL SURVEY: CLASSIFICATION OF BUILDINGS

AT EXISTING PRIMARY SCHOOLS

A.  Three classifications of buildings are used to assist in the initial assessment of existing primary school buildings and in the completion of Form SDS/3: General School Data.  These are as follows:

1. CLASS 1: Single-Storey Buildings

Walls:		timber, blockwork or brickwork

Roof:		asbestos or corrugated iron sheets

Ceiling:		no ceiling or locally made woven panels

Floor:		screed

Windows:	Timber frames with open wire mesh or timber shutters

2. CLASS 2: Single-Storey Buildings

Walls:		timber, rendered blockwork or brickwork

Roof:		asbestos, corrugated iron sheets or clay tiles

Ceiling:		plywood, hardboard or asbestos

Floor:		screed or concrete or ceramic tiles

Windows:	Timber shutters or galzed timber windows

3. CLASS 3: Two-Storey Buildings

Walls:		rendered blockwork or brickwork with concrete columns

Roof:	(second floor) corrugated iron sheets, clay tiles or concrete slab

Ceiling:		(second floor) plywood, hardboard or softboard

Floors:		Screed or concrete or ceramic tiles

Services:	main water and electricity and flush toilets

B.  There will be some buildings that do not fit easily into these classifications.  In these cases, as noted in the Introduction, the team should concentrate on collecting the rest of the data about the building or, in the case of temporary buildings or other buildings that are likely to be demolished, exclude them from the survey.

| Attachment B: GUIDELINES FOR ASSESSING THE INTERNAL CONDITION OF SCHOOL BUILDINGS |
| --- |
| Element | Category 1 | Category 2 (Rusak Ringan) | Category 3 (Rusak Sedang) | Category 4 (Rusak Berat) | Category 5 (Rusak Total) |
| Ceiling | Only minor work or regular maintenance required for next 5 years. | Less than 5% of ceiling needs renewing; make good plaster or panels not exceeding 1/2m²; repaint. | Up to 10% of ceiling needs renewing; make good plaster or panels not exceeding 1m²; repaint. | Up to 50% of ceiling needs renewing; major repairs needed to ceiling framing; repaint. | Major repairs and/or rebuilding required. |
| Floor | As above. | Make good screed or tiled surface in patches not exceeding 1m². | Make good up to 20% of screed or tiled surface. | Make good up to 50% of screed or tiled surface; relay up to 30% of floor because of subsidence. | As above |
| Walls | As above. | Make good plaster or boarding in areas not exceeding 1/2m²; repaint walls. | Make good up to 20% of plaster or boarding; make good cracks to walls; repaint walls. | Make good up to 50% of plaster or boarding; partial rebuilding of walls required; repaint. | As above |
| Windows and doors | All doors and windows in good condition. | Frames, doors need repainting; renew some panes of glass, hinges or fasteners. | Frames, doors need repainting; renew up to 10% of frames, sashes or broken door panels; replace up to 20% of glazing. | Frames, doors need repainting; renew up to 30% of frames or sashes; replace 20% of broken doors or windows. | As above |
| Chalkboard | Good condition chalkboards in all classrooms. | Make minor repairs and repaint. Minimum size 2.4 x 1.2m. | Chalkboard cracked but repairable and usable; repaint. Minimum size 2.4 x 1.2m. | Missing or unusable; replace with new board. | Missing or unusable; replace with new board |
| Furniture: check that there are sufficient desks and chairs for pupils and teachers. | Sufficient numbers in good condition. | Sufficient numbers. Not more than 10% require minor repairs. | Up to 30% require repairs. 10% require replacement. | Up to 40% require repairs. 25% missing or require replacement. | Replace all furniture |
| Cupboards: check that each classroom/ office has at least one cupboard. | Sufficient numbers in good condition. | Minor repairs required ie refix hinges or locks. | Repairs required ie replace doors or repair frames and sides. | Major repairs required ie replace both doors or repair frames and sides. | Supply new cupboards. |

| Attachment C: GUIDELINES FOR ASSESSING THE EXTERNAL CONDITION OF SCHOOL BUILDINGS |
| --- |
| Element | Category 1 | Category 2 (Rusak Ringan) | Category 3 (Rusak Sedang) | Category 4 (Rusak Berat) | Category 5 (Rusak Total) |
| Roof | Only minor work or regular maintenance required for next 5 years. | Generally in a good state of repair; not leaking and with less than 5% damaged roof tiles or sheets; roof timbers in good condition; exposed timber needs painting. | Evidence of leaks but not more than 10% of roof tiles or sheets damaged; minor repairs required to roof timbers; exposed timber needs painting. | Roof leaking badly; up to 50% of roof tiles or sheets damaged; major defects in roof framing; or strong evidence of termite damage; 50% of fascias and soffits to roof overhangs need replacing. | Building requires demolition down to foundation and re-building. (Note: foundations might require strengthening) |
| Walls | As above | Minor defects in plaster finish or boarding not exceeding 1/2m²; veranda post and soffits in good condition; repaint walls and soffits. | Defective plaster or boarding in patches not exceeding 1m²; minor cracks to walls; veranda posts in good condition; minor defects to soffits; repaint walls and soffits. | Up to 50% of plaster or boarding to be renewed; 100% of brickwork needs re-pointing; partial re-building of walls required; 30% of veranda posts and soffits need renewing; re-paint walls and soffits. | As above. |
| Verandah floor | As above | Make good defects in surface not exceeding 1/2m². | Make good defects in surface not exceeding 10% of surface. | Up to 50% of surface needs repairs; 25% to be re-laid due to settlement. | As above. |
| Surface water drains | As above | Defective patches to lining not exceeding 1/2m². | Defective patches to lining not exceeding 1m². | Up to 50% of lining needs repairs; 15% needs relaying due to settlement. | As above. |
| Septic tank/soil pipes | As above | Minor blockages require clearing. | Minor blockages require clearing and system requires repairs. | Septic tank leaking and requires re-building; extensive repairs required to system. | As above. |
| Well and pump | As above | In good condition with cover; minor defects to lining and/or apron; pump working. | In good condition; cover needs repairs; repairs required to lining and/or apron; pump working. | Water dirty; pump broken; major repairs required to lining/and or apron; may need new well. | As above. |

Attachment D:	NOTES ON COMPLETING THE SURVEY FORMS

1. FORM SDS/1: SITE LAYOUT

a. A sketch plan should be prepared showing the school site and the various buildings.  	The site should be dimensioned; a north point should be shown if possible and the 	different buildings should be numbered.  Any temporary buildings, wells, toilets or 	latrines should be noted.

2. FORM SDS/2: BUILDING No.

a. Separate sketch plans should be prepared for each building with the rooms in each 	building numbered consecutively.

3. FORM SDS/3: GENERAL SCHOOL DATA

a. This form is to be used for collecting general information on the buildings, date of construction, type of construction, etc and details of the site.

A.  SHORT DESCRIPTION OF BUILDINGS:

a. The building numbers are to correspond with the building numbers on the site plan.

b. Insert the year of construction for each building if known

c. Built by Contractor or Community; delete one.

d. Insert number of floors for each building.

e. Give brief description of materials used for construction i.e. roof - clay tiles; walls -brick; ceiling - locally woven panels, etc.

f. Insert classification of building; refer to guidelines in Attachment A.

B.  GENERAL INFORMATION ABOUT THE SITE

a. Insert approximate areas of buildings, playground, any gardens or parking areas and total area of site.

b. Note any sports facilities.

C.  SERVICES

a. Insert any services that operate during school hours only i.e. if the school has a main water connection but the water is never on during school hours that should not be inserted.  Note it instead in general comments section.

D.  GENERAL COMMENTS

a. For recording any general comments relating to the condition of the school buildings, site or any other relevant information.  For instance, a totally derelict building which requires demolition and replacement should be noted here.  If the school is used as an SMP Terbuka or for any other purpose in the afternoons, this should also be noted.

4. FORM SDS/4: GENERAL INFORMATION ON USE OF FACILITIES

In many cases, there will be more than one school using the buildings on the site.  This form is to be used for collecting general information concerning the use of the facilities ie the number of schools using the buildings in the morning and afternoon; the accommodation available and the enrolment, etc for each school.

A.  USE OF FACILITIES

a. Insert the names of the schools using the facilities in the morning and afternoon sessions.  Indicate whether the school is a government school (G) or private (P). If there are more than four schools using the facilities, use two forms.

b. Insert the numbers of pupils, teachers and other staff in each school.  Use additional forms if necessary.

B.  USE OF ROOMS

a. Insert the total number of rooms available in `Total’ column and the numbers of rooms being used by individual schools in the other columns.

b. In the comments column note any rooms being used for purposes other than those for which they were designed i.e. stores being used as classrooms, rooms unusable, etc.

5. FORM SDS/5: INTERNAL CONDITION OF BUILDINGS

a. The survey of the internal condition of buildings is best done room by room.  Use separate sheets for each building.

A.  BUILDING No. & BUILDING CLASSIFICATION

a. Insert the building number as shown on the site layout on Form SDS/1.

b. Insert the building classification as shown on Form SDS/3.

B. ROOMS

a. In Column 1 insert the room number as shown on the sketch plan on Form SDS/2.

b. In Columns 2,3 and 4 insert the use of the room i.e. classroom, the overall dimensions of the room and the area of the room in the first three columns.

c. Refer to Attachment B: GUIDELINES FOR ASSESSING THE INTERNAL CONDITION OF SCHOOL BUILDINGS and insert the condition category of each room element and item of furniture in columns 5 to 14.

d. Insert the number of usable and/or repairable desks, chairs and cupboards at the bottom of columns 10 to 14.

e. Insert the condition category of each room (calculated by adding together the condition category of each element and dividing this by the number of elements).

f. Insert the condition category of the building (calculated by adding together the condition category of each room and dividing this by the number of rooms) at the bottom of column 15.

g. Record any relevant comments in Column 15 such as: room too small, floor needs renewal, etc.  Note the footnote on lighting of classrooms and indicate any under-lit ones.

6. FORM SDS/6: EXTERNAL CONDITION OF BUILDINGS & COST OF REHABILITATION

Survey the external condition of the buildings systematically.  If there are more than five buildings on the site, use additional sheets.

A. BUILDING

a. The building numbers should correspond with the building numbers on the site plan on Form SDS/1.

b. Refer to Attachment C: GUIDELINES FOR ASSESSING THE EXTERNAL CONDITION OF SCHOOL BUILDINGS and insert the condition category for each element of the buildings.

c. Calculate the total external category for each building by totalling the 3 elements and dividing by three.

d. Add the total internal category for each building (from SDS/5) to the total external category and divide by two to find the total category condition.

e. Estimate the cost of renovation for each building using the District rates for the four categories of repairs required for renovation (see Table 1 and E.2)

B. SERVICES & FURNITURE

a. Estimate (approximately) the cost of any repairs to services and enter total.

b. Estimate the cost of furniture requirements for all buildings (using information on requirements from SDS/5) and enter total.

C. TOTAL COST

a. Calculate the total cost of renovations and enter.

7. FORM SDS/7: TOTAL COST OF RENOVATING & EXTENDING SCHOOL

The steps to be followed to estimate the total cost of renovating and extending (if necessary) a primary school, is as follows:

A. EXISTING ACCOMMODATION

a. Enter the cost of renovating the existing buildings from Form SDS/6.

b. Enter the cost of renovating existing services and sanitation from Form SDS/6.

c. Enter the cost of new furniture requirements from Form SDS/6.

d. Enter the total cost of renovation.

B. ADDITIONAL ACCOMMODATION, FURNITURE & FACILITIES REQUIRED

a. Enter total estimated cost of additional facilities (additional facilities calculated from information on Form SDS/4 giving numbers of pupils and facilities available i.e. if the school has 280 pupils but only 6 classrooms, an additional classroom will be required).

b. Add 10% of cost of renovations and additions for contingencies.

c. Enter total cost of renovations, additions and contingencies to give overall total cost.

ANNEX 8: GUIDELINES FOR CONDUCTING A SURVEY OF THE STANDING HEIGHT OF PRIMARY & JUNIOR SECONDARY SCHOOL PUPILS

It is important that school children have furniture that fits them and is comfortable in order that they can concentrate on what is happening in the classroom.  It is proposed therefore that a range of standard furniture is designed to suit children of primary and junior secondary age groups.  In order to do this, a survey of the standing height of pupils of ages from 6 to 15 years will be carried out.  A random sample of approximately 100 pupils of each sex in each age group in each Province should be taken i.e 100 girls age 6 and 100 boys age 6, etc. and their standing height measured.  Using this standing height, the furniture designer will convert the ratios of part-body measurements to standing height into actual measurements for each furniture size using a standard table of ratios.

A sample of school children from urban, semi-urban and rural districts should be used for the survey.  In order to do this it is suggested that at least one primary school and one junior secondary school in each Kabupatens in each Province are used for the survey and that all children in each school are measured.

The method of measurement to be used is as follows:

a)	A measuring scale marked with horizontal lines at 1cm intervals or a tape measure is fixed to a wall or door to a height of approximately180cm.

b)	Each child is measured standing barefoot with his or her back against the wall.  He/she has to stand erect and look straight ahead making four points of contact with the wall, the back of the head, the shoulders, the buttocks and the heels.

c)	Using a right-angle square, the teacher places the straight edge on top of the child’s head and the other straight edge against the measuring scale on the wall.  The height of the child is taken as the reading on the underside of the horizontal edge.  Measurements should be taken to the nearest centimetre.

See illustrations showing the method on Page 51: Measurement of Standing Height

The heights of the children should be recorded on Form A: Standing Height Measurement, which is attached.  One form should be used for each class.  The teacher should start the measurement with the youngest pupil and finish with the oldest.  Boys should be measured separately to girls.  A worked example for a typical school is given on Page 52.

The completed forms should be collected by the Province and passed on to the International Consultant Architect attached to the West Java Basic Education Project who will calculate average standing heights for children of all age groups in all the project Provinces.  Using these heights and the ratios given in the UNESCO Educational Building Digest 18, a range of standard furniture in 3 to 4 sizes will then be designed to suit all primary and junior secondary school children.

METHOD OF MEASURING STANDING HEIGHT

FORM A: STANDING HEIGHT MEASUREMENT - A TYPICAL EXAMPLE

| SCHOOL: SD Negeri Kurnisari II | Kabupaten: Subang |
| --- | --- |
| CLASS: 6A | SEX: Female |
| No. | Age | Standing height in cm | No. | Age | Standing height in cm |
| 1 | 11 | 136 | 34 | 13 | 144 |
| 2 | 11 | 138 | 35 | 13 | 145 |
| 3 | 11 | 135 | 36 | 13 | 143 |
| 4 | 11 | 142 | 37 | 13 | 144 |
| 5 | 11 | 144 | 38 | 14 | 149 |
| 6 | 11 | 138 | 39 | 14 | 148 |
| 7 | 11 | 140 | 40 | 14 | 152 |
| 8 | 11 | 145 | 41 | 14 | 150 |
| 9 | 11 | 139 | 42 | 14 | 155 |
| 10 | 11 | 137 | 43 | 14 | 158 |
| 11 | 11 | 140 | 44 |  |  |
| 12 | 11 | 139 | 45 |  |  |
| 13 | 11 | 144 | 46 |  |  |
| 14 | 11 | 138 | 47 |  |  |
| 15 | 11 | 142 | 48 |  |  |
| 16 | 11 | 141 | 49 |  |  |
| 17 | 11 | 139 | 50 |  |  |
| 18 | 11 | 140 | 51 |  |  |
| 19 | 12 | 142 | 52 |  |  |
| 20 | 12 | 139 | 53 |  |  |
| 21 | 12 | 145 | 54 |  |  |
| 22 | 12 | 144 | 55 |  |  |
| 23 | 12 | 140 | 56 |  |  |
| 24 | 12 | 142 | 57 |  |  |
| 25 | 12 | 143 | 58 |  |  |
| 26 | 12 | 142 | 59 |  |  |
| 27 | 12 | 146 | 60 |  |  |
| 28 | 13 | 144 | 61 |  |  |
| 29 | 13 | 147 | 62 |  |  |
| 30 | 13 | 142 | 63 |  |  |
| 31 | 13 | 144 | 64 |  |  |
| 32 | 13 | 148 | 65 |  |  |
| 33 | 13 | 140 | 66 |  |  |

- Start measuring from the youngest child and finish with the oldest, i.e. measure all the 6 year old children together then the 7 year old children, then the eight year old children, etc, etc.

- Group boys and girls separately and use separate forms for girls and boys.

- Use one sheet per sex per class.

4.   This form should be sent to the Province headquarters where it will be attached to the        forms showing the heights of all 11 year old girls measured in all Districts.

FORM A: STANDING HEIGHT MEASUREMENT

| SCHOOL: | Kabupaten: |
| --- | --- |
| CLASS: | SEX: |
| No. | Age | Standing height in cm | No. | Age | Standing height in cm |
| 1 |  |  | 34 |  |  |
| 2 |  |  | 35 |  |  |
| 3 |  |  | 36 |  |  |
| 4 |  |  | 37 |  |  |
| 5 |  |  | 38 |  |  |
| 6 |  |  | 39 |  |  |
| 7 |  |  | 40 |  |  |
| 8 |  |  | 41 |  |  |
| 9 |  |  | 42 |  |  |
| 10 |  |  | 43 |  |  |
| 11 |  |  | 44 |  |  |
| 12 |  |  | 45 |  |  |
| 13 |  |  | 46 |  |  |
| 14 |  |  | 47 |  |  |
| 15 |  |  | 48 |  |  |
| 16 |  |  | 49 |  |  |
| 17 |  |  | 50 |  |  |
| 18 |  |  | 51 |  |  |
| 19 |  |  | 52 |  |  |
| 20 |  |  | 53 |  |  |
| 21 |  |  | 54 |  |  |
| 22 |  |  | 55 |  |  |
| 23 |  |  | 56 |  |  |
| 24 |  |  | 57 |  |  |
| 25 |  |  | 58 |  |  |
| 26 |  |  | 59 |  |  |
| 27 |  |  | 60 |  |  |
| 28 |  |  | 61 |  |  |
| 29 |  |  | 62 |  |  |
| 30 |  |  | 63 |  |  |
| 31 |  |  | 64 |  |  |
| 32 |  |  | 65 |  |  |
| 33 |  |  | 66 |  |  |

ANNEX 9: TECHNICAL ASSISTANCE TEAM FOR CIVIL WORKS PROCUREMENT for WEST JAVA BASIC EDUCATION PROJECT & TERMS of REFERENCE

- ORGANISATION

1. In order to facilitate the construction programme which will include: the renovation of primary schools; the construction of new junior secondary schools; the construction of wells and toilets; the manufacture and supply of school furniture and training for School Heads, builders and supervisors, a consulting firm will contracted by MOEC in Jakarta to provide technical assistance at three levels:

- Province: at the Province level, a technical unit will be established within the Division of Facilities and Equipment located in the Kanwil and will work closely with the Provincial Project Co-ordination Unit (PPCU).  The unit will be headed by a full-time National Project Architect for the duration of the project assisted by an International Consultant Architect who will provide expert support for three months every year during the life of the project.  The unit will be responsible for: co-ordinating all construction and training activities with all the government agencies concerned; for reviewing existing designs for primary and junior secondary schools; for producing new designs for primary schools; for preparing briefs and commissioning new designs for junior secondary schools; for obtaining all necessary permissions; for supervising the work of the District Construction Co-ordinators and Construction Supervisors and for increasing the capacity of all agencies to construct and maintain school facilities in the future.

- District: at each District, a Construction Co-ordinator will be responsible for: assisting the Section for Facilities and Equipment in each MOEC district office in co-ordinating all construction and training activities with all local government agencies concerned; for monitoring the supervision of new junior secondary schools by local consultants; for supervising the work of the Construction Supervisors at Sub-District level, for controlling the funding of junior secondary school construction; for monitoring the funding of primary school renovations; and for increasing the capacity of all agencies at District level to construct and maintain school facilities in the future.

- Sub-District: at Sub-District level, Construction Supervisors will provide technical assistance to MOEC, MORA and PU staff.  The number of Supervisors in any one Sub-District will depend on the size and amount of construction work in that Sub-District.  The Construction Supervisors will be responsible for: supervising the renovation of existing primary schools and the construction of new wells and toilets; for controlling expenditure on all renovation and construction works; the training of School Heads in maintenance and craftsmen and small builders in better construction techniques; supervising the manufacture of school furniture and for increasing the capacity of all agencies at Sub-District level to maintain school facilities in the future.

2. The consulting firm, which should be of international standard, will provide the following technical personnel:

- NATIONAL PROJECT ARCHITECT: TERMS OF REFERENCE

1. The Project Architect should have nationally recognised qualifications including a degree in architecture and a professional qualification.  He/she should have a minimum of 10 (preferably 15) years professional experience with at least 5 years experience of managing construction projects.  He/she should have experience in primary and/or secondary school design and construction, preferably in the rural areas.  Experience in the use of appropriate building materials and methods and in the construction of wells and latrines would be an advantage.

2. The Project Architect will be based in the Division of Facilities and Equipment in the Provincial Office of the Ministry of Education and Culture in Bandung, West Java.  He/she should be prepared to travel extensively in the Province supervising the work of the Construction Co-ordinators and Supervisors and monitoring the progress of the civil works.

3. The Project Architect will report to the Project Manager on all aspects of civil works implementation.  He/she will also be responsible for developing the capacity of the Division of Facilities and Equipment in managing school construction activities and for the training of his/her MOEC counterpart staff in the Province.

4. The Project Architect’s contract will be for 42 months (6 : 12 : 12 : 12 months).

5. The Project Architect’s tasks will include:

a. Reviewing the consolidation programme for existing Primary Schools prepared by the Districts and the inventory of Primary Schools prepared by the Districts’ consultants.

b. Reviewing existing Primary School designs and preparing designs for new facilities.

c. Reviewing existing designs for Junior Secondary Schools and preparing a brief for the design of new facilities.

d. Engaging local consultants to survey sites, prepare designs, working drawings and tender documents for new Junior Secondary Schools.

e. Reviewing contract arrangements, defects liability periods, supervision, etc for Junior Secondary School construction.

f. Reviewing the designs for wells and latrines prepared by PU Cipta Karya and other agencies and modifying them as necessary for Primary and Junior Secondary Schools.

g. Preparing designs, working drawings and schedules of materials for appropriate furniture for Primary and Junior Secondary Schools, to be made by local carpenters.

h. Developing on-the-job training for small builders and local artisans involved in the renovation of Primary Schools and Junior Secondary Schools.

i. Developing on-the-job training for PU technical staff involved in the supervision of renovation work in order to increase their capacity for future supervision.

j. Developing maintenance manuals and training programmes for School Heads to assist them in maintaining their schools together with a simple system to for reporting more serious maintenance problems.

k. Managing the overall renovation and construction programme for both Primary and Junior Secondary Schools and co-ordinating all activities with all the government and private agencies involved.

l. Making regular visits to project sites to check on progress and standards of construction and renovation.

m. Preparing monthly reports on the progress of the project.

2.   INTERNATIONAL CONSULTANT ARCHITECT: TERMS OF REFERENCE

1. The Consultant Architect should have internationally recognized qualifications including a degree in architecture and  a professional qualification recognised in the country where he is resident.  He/she should have a minimum of 15 years professional experience with at least 5 years experience in managing projects in the developing world.  He/she should have experience in primary and secondary school building in the tropics, experience in the use of appropriate building materials and methods and in the use and training of rural communities and tradesmen in construction projects.  Experience of the construction of wells and latrines would be an advantage.

2. The Consultant Architect will be based in the Division of Facilities and Equipment in the Provincial Office of the Ministry of Education and Culture in Bandung, West Java.  He/she should be prepared to travel extensively in the Province monitoring the progress of the civil works.

3. The Consultant Architect will report to the Project Manager on all aspects of civil works implementation.  He/she will work closely with the Project Architect to ensure that construction activities are focused on the achievement of project objectives.

4. The Consultant Architect’s contract will be for 12 months over 4 years (3 : 3 : 3 : 3 months).

5. The Consultant Architect’s tasks, in the first year of the project, to be carried out in close collaboration with the Project Architect, will include:

a. Reviewing the consolidation programme prepared by the Districts and the inventory of Primary Schools prepared by the Districts’ consultants.

b. Reviewing existing Primary School designs and advising on the design of new facilities.

c. Reviewing existing designs for Junior Secondary Schools and advising on the preparation of the brief and on the design, working drawings and tender documents for new Junior Secondary Schools.

d. Reviewing contract arrangements, defects liability periods, supervision, etc for Junior Secondary School construction.

e. Reviewing the designs for wells and latrines prepared by PU Cipta Karya and other agencies and advising on their modification as necessary for Primary and Junior Secondary Schools.

f. Advising the Project Architect on on-the-job training for small builders and local artisans involved in the renovation of Primary Schools.

g. Advising the Project Architect on on-the-job training for PU technical staff involved in the supervision of school construction and renovation work.

h. Advising the Project Architect on the development of maintenance manuals and training programmes in school maintenance for School Heads.

i. Reporting to the Project Manager on the progress of the project at the end of his/her first assignment.

5. The Consultant Architect’s tasks, in the second year of the project, to be carried out in close collaboration with the Project Architect, will include:

a. Reviewing progress in the District consolidation programmes for Primary Schools.

b. Reviewing the revised Primary School designs, working drawings, schedules of materials, etc.

c. Reviewing the revised designs, working drawings, tender documents and contracts prepared for the new Junior Secondary Schools.

d. Reviewing progress in the implementation of on-the-job training for small builders and local artisans involved in the renovation of Primary Schools and of on-the-job training for PU technical staff involved in the supervision of school construction and renovation work.

e. Reviewing the development of maintenance manuals and training programmes in school maintenance for School Heads.

f. Visiting construction and renovation sites and reviewing the quality of supervision by project staff and the progress and quality of the works.

g. Reporting to the Project Manager on the progress of the project at the end of his/her second assignment.

6. The Consultant Architect’s tasks, in the third and fourth years of the project, to be carried out in close collaboration with the Project Architect, will include:

a. Reviewing progress in the District consolidation programmes for Primary Schools.

b. Reviewing progress in the implementation of on-the-job training for small builders and local artisans involved in the renovation of Primary Schools and of on-the-job training for PU technical staff involved in the supervision of school construction and renovation work.

c. Reviewing the training programmes in school maintenance for School Heads.

d. Visiting construction and renovation sites and reviewing the quality of supervision by project staff and the progress and quality of the works.

e. Reporting to the Project Manager on the progress of the project at the end of his/her third assignment and of the achievements of the project at the end of the fourth year.

3.  DISTRICT CONSTRUCTION CO-ORDINATORS

1. The Construction Co-ordinators should have a diploma in architecture or civil engineering and at least 5 (preferably 10) years experience in the design and construction of buildings with some experience of working in the rural areas.

2. The Construction Co-ordinators will be based in the Sub-Division of Facilities and Equipment in the District Offices of the Ministry of Education and Culture.  They should be prepared to travel extensively in the District supervising the work of the Construction Supervisors and monitoring the progress of the civil works.

3. The Construction Co-ordinators will report to the Sub-Project Manager at the District level and the Project Architect at the Provincial level on all aspects of civil works implementation.  They will also be responsible for developing the capacity of the Section of Facilities and Equipment in managing school construction activities and for the training of his/her MOEC counterpart staff in the Districts.

4. The Construction Co-ordinators’ contracts will be for 42 months (6 : 12 : 12 : 12 months).

5. The Construction Co-ordinators’ will, in close collaboration with the Head, Section of Facilities and Equipment carry out the following tasks:

a. Co-ordinate and supervise the Primary School renovation programme.

b. Assist as necessary with the supervision of the Junior Secondary School construction programme.

c. Co-ordinate the construction programme for wells and toilet facilities.

d. Implement the on-the-job training programme for small builders and craftsmen involved in the renovation of Primary and Junior Secondary Schools.

e. Implement the on-the-job training programme for PU and consultants’ staff involved in supervision.

f. Implement the training programme for School Heads in school maintenance.

g. Provide technical support to sub-project manager on contracts and supply of materials for the manufacture and supply of school furniture by local carpenters.

h. Make regular visits to project sites to check on progress and standards of construction and renovation and give technical support to Construction Supervisors.

i. Report monthly to the Project Architect on the progress of the project.

5.  SUB-DISTRICT CONSTRUCTION SUPERVISORS

1. The Construction Supervisors should have a senior secondary school certificate in a building trade and should have had at least 6 years experience in building construction with some experience of working in the rural areas.

2. The Construction Supervisors will be based in the District Offices of the Ministry of Education and Culture but will spend most of their time working on project sites in the Sub-Districts.  They should be prepared to travel extensively in the Districts supervising the work on project sites.

3. The Construction Supervisors will report to the District Construction Co-ordinators at the District level on all aspects of civil works implementation.

4. The Construction Supervisors’ contracts will be for 42 months (6 : 12 : 12 : 12 months) or until the construction work under their supervision is complete.

5. The Construction Co-ordinators’ will work closely with the Head, Sub-District office of MOEC and their tasks will include:

a. Supervising the renovation of existing project Primary Schools and, if necessary, assisting with the supervision of Junior Secondary Schools.

b. Organising and running training programmes for small builders and local artisans involved in Primary School renovation.

c. Working with PU technical staff involved in the supervision of construction work and assisting as necessary with their training.

d. Supervising the construction of wells and latrines at project Primary Schools and, if necessary, at Junior Secondary Schools.

e. Supervising the manufacture of school furniture by local carpenters in the villages and organising their training.

f. Assisting school and community representatives in the control of expenditure on all aspects of the renovation programme including labour and materials.

g. Reporting monthly to the District Construction Co-ordinators on the progress of the          project.

ANNEX 10: THE ECONOMICS OF SCHOOL MAINTENANCE

If school buildings are to maintain their value and provide their pupils and teachers with a satisfactory learning and teaching environment, time, effort and money must be expended upon them regularly and effectively.  Unfortunately, maintenance budgets are the easiest to cut in times of financial stringency as has happened in the case of Indonesian schools.  The limited funds available are usually directed towards new buildings or the total renovation of existing ones rather than the upkeep of existing facilities which of course only increases the number of buildings requiring maintenance with ever decreasing resources.

The construction budgets used by the government for estimating the cost of construction of new or renovation of existing schools are more than adequate for the construction of good quality facilities if they are properly built.  For instance, the cost of a new 4-classroom primary school building is estimated at Rp88.256 million (US$29,419 or US$131 sq. metre) at 1997 rates.  The major renovation of an existing 4-classroom building is estimated at RP30 million (US$10,000 or US$45 sq. metre) at 1997 rates.  Unfortunately, because of the generally low standard of construction, a lot of this money is wasted, the full potential of the building is never realised and this, combined with the fact that very little is spent on maintenance, means that the useful life of most school buildings is very short.

The costs attributable to a building occur at different times in its life.  These costs must be judged on a common basis before comparisons can be made. In this Annex, the cost of maintaining school buildings over their useful life is compared with the cost of not maintaining them, using a cost alternative analysis.

We will take as an example the cost of constructing and maintaining a 4-classroom primary school building.  If this building is well constructed and maintained, it should have a useful life of at least 25 years and probably much longer.  However, if the building is badly constructed and poorly maintained its life could be shortened to 10 years and possibly much less (some school buildings have been seen that have been built for 7 years or less and now need major reconstruction works).  For the purpose of this exercise, we will assume that a building that is well built and well maintained will last for 30 years before major works are required and contrast this with a building that has not been maintained and therefore requires replacing every 10 years.

The initial cost of constructing the building at current rates will be Rp88.256million. If we assume that annual maintenance costs are a fixed annual rate of 2% of the initial construction cost, this will give a maintenance cost of Rp1.765million for the first year after construction.  If we also take the current inflation rate of 7%, the cost of maintenance of the one school and of reconstruction of the other over the following years will be as set out in the table below:

It will be seen that the total cost of constructing a 4-classroom building properly, maintaining it regularly and reconstructing it after 30 years will be Rp870,288,495.  The total cost of a poorly constructed building however, which has no money spent on maintenance and so has to be reconstructed three times, will be Rp1,197,567,180.  There is a saving of Rp327,278,685 (27%) on the overall cost of the well maintained school building against that of the building that is not maintained.

There is therefore, a demonstrable financial advantage in embarking on a programme of preventative maintenance for school buildings.  It must also be remembered that a building that is regularly maintained can be used productively and continuously during it’s life while the building that is not maintained will gradually deteriorate and become unusable and will have to be closed for renovation, in this instance, twice during its life.  It has to be stated again however, that this advantage will only be obtained if the building is properly built in the first instance and this will largely depend on proper supervision of construction.

## TABLE OF CONSTRUCTION, MAINTENANCE & RECONSTRUCTION COSTS

Assuming spending on maintenance of 2% of the construction cost per year and an annual inflation rate of 7%.

|  | School 1: Construction & Maintenance | School 2: Construction & Reconstruction |
| --- | --- | --- |
| Year | Cost |  | Cost |  |
| 0 | 88,256,000 | Construction | 88,256,000 | Construction |
| 1 | 1,765,120 | Maintenance | Nil |  |
| 2 | 1,888,678 | Maintenance | Nil |  |
| 3 | 2,020,885 | Maintenance | Nil |  |
| 4 | 2,162,346 | Maintenance | Nil |  |
| 5 | 2,313,710 | Maintenance | Nil |  |
| 6 | 2,475,669 | Maintenance | Nil |  |
| 7 | 2,648,965 | Maintenance | Nil |  |
| 8 | 2,834,392 | Maintenance | Nil |  |
| 9 | 3,032,799 | Maintenance | Nil |  |
| 10 | 3,245,094 | Maintenance | 162,255,056 | Reconstruction |
| 11 | 3,472,250 | Maintenance | Nil |  |
| 12 | 3,715,307 | Maintenance | Nil |  |
| 13 | 3,975,378 | Maintenance | Nil |  |
| 14 | 4,253,654 | Maintenance | Nil |  |
| 15 | 4,551,409 | Maintenance | Nil |  |
| 16 | 4,870,007 | Maintenance | Nil |  |
| 17 | 5,210,907 | Maintenance | Nil |  |
| 18 | 5,575,670 | Maintenance | Nil |  |
| 19 | 5,965,966 | Maintenance | Nil |  |
| 20 | 6,383,583 | Maintenance | 319,180,254 | Reconstruction |
| 21 | 6,830,433 | Maintenance | Nil |  |
| 22 | 7,308,563 | Maintenance | Nil |  |
| 23 | 7,820,162 | Maintenance | Nil |  |
| 24 | 8,367,573 | Maintenance | Nil |  |
| 25 | 8,953,303 | Maintenance | Nil |  |
| 26 | 9,580,034 | Maintenance | Nil |  |
| 27 | 10,250,636 | Maintenance | Nil |  |
| 28 | 10,958,180 | Maintenance | Nil |  |
| 29 | 11,725,952 | Maintenance | Nil |  |
| 30 | 627,875,870 | Reconstruction | 627,875,870 | Reconstruction |
| Totals | 870,288,495 |  | 1,197,567,180 |  |

# Footnotes

Note: Classroom illumination can be considered satisfactory if the total area of windows is equivalent to at least 15% of the floor area.