## REPÚBLICA DEMOCRÁTICA DE TIMOR LESTE

## MINISTRY OF HEALTH

## HEALTH SECTOR REHABILITATION AND DEVELOPMENT PROJECT

## COMMUNITY HEALTH CENTRES
BUILDING MAINTENANCE MANUAL

## COMMUNITY HEALTH CENTRE MAINTENANCE PROGRAMME

A Health Centre maintenance programme is an organisational activity carried out by the Health Centre community in order to prolong the life expectancy of Health Centre buildings and equipment. Maintenance is a continuous operation to keep the Health Centre building in the best form for normal use, and to ensure the use of the Health Centre building as a shelter in case of an emergency caused by natural hazard events. The Health Centre maintenance programme should be systematic and pro-active to prevent the need for repairs. In view of probable low funding it should be structured around the staff and community for each centre.

A Health Centre maintenance programme should ensure that the Health Centre building can:

- Function at its designed level at all times.

- Function during the normal life span of the Health Centre building and equipment.

- Resist the effects of an extreme natural event like high winds, floods and earthquakes, provided that the original design, construction, and materials were satisfactory for these demands.

The maintenance of the Health Centre building is a daily activity of the institution and its personnel. It is an important factor in the delivery of health services. The Ministry of Health is responsible for the maintenance of all Health Centre buildings and the physical plant. However, the Health Centre community (administrative staff, health workers, local community) should institute its own Health Centre maintenance programme.

The maintenance programme should comprise three basic components: organisation, inspection, and maintenance plan.

This manual has been developed without the usual technical language and jargon that the users might find bewildering. Its main objective is to provide guidance to Health Centre personnel in preparing a detailed list of areas, spaces, materials and equipment to be maintained as well as a list of defects to be corrected.

With the help of this manual the information gathered could be used to prepare annual estimates and assist with the planning of maintenance activities and the development of a detailed annual maintenance budget. Major repair or renovation projects will depend on budget availability but routine maintenance inspections and minor repairs can be carried out by the Health Centre personnel with little or no cost.

## ORGANISATION

The organisational structure of the Health Centre maintenance programme should clearly define duties and responsibilities. Resident staff should be responsible for establishing the Health Centre maintenance programme. The success of a Health Centre maintenance programme depends on the Health Centre community’s ability to be organized and keep track of all activities included in the programme. In view of the small staff numbers anticipated at each centre each staff member may have to be responsible for more than one area or responsible local community members can be requested to assist.

The Health Centre Manager will be responsible for: scheduling inspection activities to be carried out, collecting information, preparing a Health Centre building maintenance report, and preparing the annual Health Centre maintenance plan. It is recommended to assign a person for to conduct an inspection on each part of the Health Centre building, according to the classification provided in this manual.

| COMMUNITY HEALTH CENTRE MAINTENANCE PROGRAMME ORGANISATIONAL STRUCTURE |
| --- |
| Name of Health Centre: |
| Name of District: |
| Date of inspection: |
| Name of person who filled out the form: |
| Area | Person Responsible |
| General Coordinator |  |
| Structure |  |
| Roofing |  |
| Building exterior |  |
| Building interior |  |
| Interior Fittings |  |
| Plumbing |  |
| Electrical |  |
| Grounds and drainage |  |

## INSPECTIONS

A preliminary Health Centre building inspection needs to be conducted in order to prepare a Health Centre maintenance plan. This inspection should be conducted by technical personnel capable of identifying major deficiencies which may affect the normal activities in the Health Centre. Information gathered during the preliminary Health Centre building inspection is the basis for the maintenance programme. The better the inspection, the better the programme. A Health Centre building analysis report should be prepared in order to summarize the inspection.

The preliminary inspection is intended to assist in the evaluation of the overall condition of the Health Centre building and to establish the pattern for non-technical staff to follow for subsequent inspections. The subsequent inspections should not be based only on observations of visible and apparent condition of the Health Centre building and its components at the time of the inspections. It should be a continuous process in order to update the Health Centre maintenance programme. If a problem occurs, some adjustment in the Health Centre maintenance programme may be necessary, and decisions about what corrective measure to take for remedying the problem should be made. It is recommended that a new inspection be performed if a major change occurs to the Health Centre building, such as, when a hazardous event impacts the Health Centre.

The inspection will start with simple observations of the inside and outside of the Health Centre, simply walking around the interior and the exterior, looking at it carefully. Use the following checklist to determine which items require attention and then match the recommendations in the corresponding section to determine what action should be taken.

The checklists have been divided into sections based on the main components of the Health Centre building. Some items are difficult to classify because they are multipurpose in the building. In any case, common sense should be applied for the location of simple items. Preceding each checklist is a brief explanation of the area.

The areas of the Health Centre building are the following:

- Building Structure

- Roofing

- Building Exterior

- Building Interior

- Interior Fittings

- Plumbing

- Electrical

- Grounds

Note: Since the persons carrying out subsequent inspections are not engineers, it is advisable that they be instructed to seek a professional opinion if major defects or concerns are noted during a routine inspection or after a major event.

## BUILDING STRUCTURE

The structure of a Health Centre building comprises the foundations, columns, structural walls, floors and roof structure. Over time the Health Centre building settles and moves creating minute stresses at joints in materials that can cause small cracks to appear. In most cases, this is a normal part of the structure settling in its foundation. However, there are cases where other factors are at work, and the cracks are cause for concern and action. The key is to be able to tell the difference. Most times it should be left to a trained professional. If there is a major structural problem in the Health Centre building, it should be evaluated by a structural engineer, and the corresponding repairs should be made.

Fine, hairline cracks often appear in concrete floors and walls. As a general rule, these are not cause for alarm. Hairline cracks in a ground floor slab and blockwork walls are common, and generally not serious. But there are exceptions: (a) if the cracks are 5 mm or more wide; (b) if they appear to be getting larger, or (c) if water is seeping through the cracks. These are clues that it is time to consult with a structural engineer or a similar professional.

Pay special attention to these aspects:

- Warping in columns, beams, structural walls, floors, and roof structure

- Rotting in wood structural components

- Rusting of metal structural components

Wood and metal structural components need repainting on a regular basis. Wood components should be examined for any cracking due to exposure to the elements. Cracks should be sealed with exterior caulk prior to painting. The bottom of wood columns should also be examined for open joints where water may enter. Under the base of the column is where rot is most likely to occur since wood will absorb water at the ends where the grain is exposed. If there are open joints, they should be sealed with caulking.

## The roof’s structural support system holds the roof in place, and holds it on when windstorms occur. The support structure comprises purlins and rafters. The purlins, rafters, and wall plates should be free from rot and insect infestation. The fasteners should be fixed into solid material and should not be pulled out easily, and the wall plates should be secure to the walls by bolts.

| BUILDING STRUCTURE |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Component | Conditions | Remarks | Location |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Columns |  |  |  |  |
| Beams |  |  |  |  |
| Structural walls |  |  |  |  |
| Foundations |  |  |  |  |
| Roof structure |  |  |  |  |
| General Remarks: |

## ROOFING

The roof’s job is to protect the Health Centre building from rain, sun, and wind. A function of the roof is to keep water from getting into the Health Centre building. It is a key part of the Health Centre building’s waterproofing system, therefore, the roof should be kept in good shape. In a pitched roof, high winds might tear off roof sheets. This is directly related to how well-secured these parts are and if they are corroded or not. Hold down screws may work loose through vibrations of the roof sheets in continuously windy areas. The ridge capping should be solidly fixed to the roof sheets so that it cannot be peeled off by the wind.

A technique called flashing is used in roofing systems to help seal out water. Flashing is installed where two sections of roof come together, which is called a valley since the roof sections usually join at an angle. Flashing is also used where something penetrates through the roof line, such a vent pipe, or roof ventilation. Flashing is typically metal. Roofs commonly leak around the flashing. Over time, metal may corrode, form pinhole openings, develop metal fatigue, or pull away from the vent or other adjoining surface. If roofing cement has been used to seal the flashing, it can dry out and crack. Any of these conditions can create a leak. Good periodic maintenance of the roof includes an annual examination of the flashing.

| ROOFING |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Roof covering |  |  |  |  |
| Ridge capping |  |  |  |  |
| Flashing |  |  |  |  |
| Hold down screws |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |

## BUILDING EXTERIOR

The new Health Centre buildings have exteriors planned to be as maintenance-free as possible and features concrete block walls with breeze blocks openings. Even so, the Health Centre building’s exterior will still need a periodic maintenance programme to protect the materials. The biggest threats of the Health Centre building’s exterior are water, wind, sun, and in areas near the coast, salty air.

A visual inspection of the exterior of the Health Centre building should be done to look for the changing conditions of the exterior walls and covering. It is important to look for peeling paint, missing mortar or caulking between masonry joints, cracks that have appeared since the last observations, mildew or mould that is now growing on walls, bushes and shrubs that now touch the Health Centre building’s exterior. These are all clues that some maintenance action is needed. The exterior walls of the Health Centre building have to be kept clean and free of debris. Leaves and plant materials should be raked away from the walls so that any water that falls there will drain away, and not be retained where it might penetrate the walls and foundation. A semi-annual exterior cleaning is an important step in the maintenance process.

In exterior block or any masonry walls, the basic concerns are cracking and water intrusion. Water can affect masonry in a variety of ways. It can affect the mortar, a special kind of binding cement applied at joints to hold the individual pieces of masonry together. Over a period of time, water can erode the mortar, causing the original mortar mix to disintegrate. If there are cracks, there are more openings for water to enter. If there is a whitish film deposited on the face of the masonry, this is called efflorescence and is the result of dried mineral salts. Water in the masonry picks up minerals, and when the water meets the outside air it evaporates, leaving a residue of mineral salts. If there is mortar falling out of the joints, it’s time for a touch-up process. Fresh mortar has to be put into those open joints. Over time, problems may plague the external masonry wall covering. The paint surface may peel or flake away due to moisture. The mortar covering can also crack due to settlement. Cracks must be filled to avoid water getting inside and causing further deterioration of the surface. The joint between the masonry portion of the exterior and any other material such as wood or metal trim on doors and window frames should be carefully checked. Because the materials are dissimilar, they have different rates and characteristics of expansion and contraction. This movement can open the joint even if it has been caulked, and that can allow water to enter. A high grade of exterior caulk should be use to seal the joints.

All exposed timber must be kept coated with a protective film, either paint or stain with a wood preservative. All joints and openings must be caulked to prevent water intrusion. When the protective coating starts to wear, it loses its ability to shed water. The underlying wood becomes susceptible to water intrusion, then warping and rotting. Therefore, in the periodic stroll around the Health Centre building, look for peeling or flaking paint, or stains that have worn so thin that the wood grain is exposed and raised. Also look for open joints, however small, where water can penetrate; open joints pose problems even if the paint or stain coating itself is in prime condition. Action should be taken before wood rot sets in because if that occurs, the only course may be to tear off the rotted section and install new materials, which is always more expensive.

Typically, the maximum time interval for repainting or re-staining and applying waterproofing for timber sections subject to frequent contact such and columns and the outside of timber doors is two to three years and for exposed but inaccessible structural timber it is approximately five years. Remember that exposed edges of any wood members are the points where water is most likely to penetrate and cause problems. Those edges should be well sealed with paint and caulk. Badly deteriorated areas should be sanded before repainting.

If there are metal frames, doors, windows, and railings, the protective paint coating should be in good conditions, otherwise it will have rust and deteriorate. Door and window hinges should be oiled at least annually.

| BUILDING EXTERIOR |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Exterior walls |  |  |  |  |
| Exterior windows |  |  |  |  |
| Exterior doors |  |  |  |  |
| Verandah rafters and columns |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |

## BUILDING INTERIOR

Internal walls have been finished with a durable paint which, with minor cleaning, should remain attractive and serviceable for several years. Cleaning should be carried out with a clean cloth or sponge and plain, clean water. A small amount of mild soap can be used for stubborn stains but no abrasives or detergents should be used.

Besides simple cleaning and re-painting, maintenance of interior masonry walls is usually minimal unless cracks - visible either on one side or both - appear. Pay special attention to them and answer these questions:

Which direction does the crack run?

Is it horizontal, vertical or "stair step" along joint between blocks in the wall?

The horizontal crack generally is the most serious because it might indicate great pressure against the wall from the outside. A vertical crack, or one that is stair step, is likely caused by differential stress along the base of the wall. It may result from simple settlement of the Health Centre building on its foundations and footings. In other cases, water has penetrated down far enough to soften the soil at the foundation base in one location, causing it to sag while the other part stays rigid. If there is a hairline crack where the walls join other elements, just resealing and repainting ought to be sufficient.

The operators on louvred windows should open and close easily.

Sometimes a door starts to stick at a corner. This is typically due to some movement or settlement of the Health Centre building, causing the door frame to be out of plumb. If it is not serious, the door can be removed and the sticking edge planed down slightly to relieve the problem. On the other hand, if the door is sticking severely, and if any other doors or windows in the same area are sticking as well this may indicate a more complex problem involving the Health Centre building’s structural system. Potentially there may have been substantial movement in the Health Centre building which should be investigated.

Under normal circumstances the metal ceilings should be maintenance free, however, should the ceiling sag this may be due to screws loosening or it may also be structural, such as an overloading of a ceiling joint or truss above. Or it could be water, a leak which is working its way behind and under the ceiling material and causing deterioration.

| BUILDING INTERIOR |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with the description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Floor tiles |  |  |  |  |
| Interior walls |  |  |  |  |
| Ceiling |  |  |  |  |
| Interior doors |  |  |  |  |
| Interior windows |  |  |  |  |
| Window glazing |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |

## INTERIOR FITTINGS

These are items which will receive most use and will be subject to maximum wear and tear. If they are treated with care with minor defects being rectified immediately they should give many years of service before requiring major repair or replacement. In most cases the correct treatment is common sense but they are repeated here to reinforce their importance.

The stainless steel benches and sinks were chosen because of their hard wearing and durable nature and for simplicity of cleaning. They should never be cleaned with any caustic or abrasive materials such as industrial detergents and wire wool. After use they should be wiped off with a clean, damp cloth and left to dry naturally. No metal containers should be stored on a stainless steel surface for long periods as dissimilar metals can cause electrolytic action and corrosion. Similarly any containers holding caustic or acidic materials should be checked to be completely free from leaks if stored in contact with the stainless steel benches.

The underbench cupboards, Reception area counter top and store room shelves should be kept clean and perfectly dry. Any liquid spillage from the sinks, benches or other containers should be wiped off immediately. Although the panels are coated with a waterproof laminate there will be small gaps at the edges which will allow water to reach the board underneath causing rotting, moulding and distortion. All these surfaces should be cleaned with a damp cloth and dried immediately with a dry cloth. As with the stainless steel, no abrasive or caustic materials should be used in their cleaning.

| INTERIOR FITTINGS |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Stainless steel benches |  |  |  |  |
| Stainless steel sinks |  |  |  |  |
| Underbench cupboards |  |  |  |  |
| Reception counter top |  |  |  |  |
| Storeroom shelving |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |

## PLUMBING

Most of a Health Centre’s plumbing has five major parts: water supply, water storage, fixtures, waste collection, and septic system. Water is provided either by a public system or a private well, and the water storage could be underground or elevated. From there the distribution enters the Health Centre building through the wall or up through the floor slab, and water goes into distribution piping, which runs throughout the Health Centre building. Next there is waste collection. At each sink, wash basin and toilet there will be a connection to waste collection piping. Waste water is channelled down and out of the Health Centre building. The pipe leads to a septic treatment system. Waste collection piping also has vents to get sewer gas into the atmosphere, and provide air into the system to help it work. In between the water supply and the waste collection systems, there are fixtures. A fixture may be a sink or a toilet. The fixture is where the water distribution and the waste collection join.

Fortunately, problems with plumbing systems do no happen often, but when they do, generally the problems are leaks, which should be dealt with promptly. Damage to the Health Centre can be as severe as water from rain; in fact, plumbing leaks often can be a bigger problem. If the water system is under pressure, and a rupture in the water system will cause water to continue spilling into the Health Centre. Most of the plumbing is out of sight, behind the walls and under the floor, so typically you cannot see the leaks when they occur until they manifest somewhere else.

If a water pipe ruptures, pressure will force the water out, and the water supply should be temporary turned off. Where the water service pipe enters the Health Centre, there will be a main shut-off valve. If there is a pipe break anywhere in the Health Centre, that main valve can stop water flowing to all points. Become familiar with the location of the shut-off valve because you will have to find it quickly in case of an emergency. Most plumbing fixtures have shut-off valves mounted on them which can be used to isolate the fixture from the water system in case of leaking or pipe breaks. Typically they are near the fixture. Find them.

One of the biggest problems is a break in the water service entry pipe. It will usually show itself as a slow, dribbling leak. The problem usually starts either at the connection with the source or at the point where the pipe comes through the Health Centre. What causes these problems? One cause is settlement or some other type of movement in the ground. They can shift and allow the trench to move, but the pipe will not move since it is anchored at both ends; a high sheer stress is created and the pipe gives way. Whether a slow leak or a dramatic blow off, this type of problem requires excavating the trench, in which the service entry pipe is located, either a portion or the entire trench. When the problem is found, the pipe may be repaired, or under certain circumstances, it may be replaced for its entire length from its origin to the Health Centre building.

One problem sometimes encountered is a knocking or spitting sound as the water is turned on. This can occur if an excessive amount of air gets trapped in the pipes and is trying to find a way out. If there has been any plumbing work done, or the water supply to the Health Centre has been shut off for a period, a knocking sound can be heard. Typically, this is air and can be bled out by running the water.

Water storage tanks, underground or elevated, should be inspected every year, and cleaned if necessary. In underground tanks, the access cover should fit properly, be in good condition, and easy to remove for cleaning. The access cover should be protected to avoid rain water seeping into the tank. Where there is a water pump, periodical checks should be done.

Main tanks often continue to run water in the tank after they are filled. The flow should stop when the tank has reached a predetermined fill level, when the ball float inside the tank is properly adjusted (the ball float closes the water supply valve). If a simple adjustment does not work, the inner mechanism in the tank may have to be replaced.

The waste collection system consists of a series of large pipes that gather the used water from all fixtures and transport it out of the Health Centre to a treatment system. The pipes are large because, unlike the water supply, the waste collection system operates by gravity flow. If a leak is experienced in this system, it will be different from a leak in the water supply piping. Usually the leak originates at a fixture connection such a toilet or a sink. If the toilet or any other fixture rocks when used, it is not properly fixed to the floor or to the wall and should be tightened. Because the system depends on gravity, the waste water will slowly run down to the outside of the pipe. Over time it can cause rotting. These leaks may go unnoticed for some time, so preventive maintenance requires a periodic look under lavatories and sinks to see if there is any water. Other common problems experienced with waste lines are blockages. Paper or other objects can become stuck in the waste line, totally blocking the flow of water, and waste water will back up into the fixture served by the section of the piping, and may even overflow. To clean the obstruction, a special auger, like a snake, has to be used.

Septic tanks should be inspected every year, cleaned and flushed out at least every four years. The access cover should fit properly, be in good condition, and be able to be removed for cleaning. The access cover should not be opened too easily, as children may remove the cover wilfully. The inlet pipe should be firmly fixed to the tank and checked for leaks. Where there is a soak-away, the pipe to the soak-away should be firmly bedded. If there is any odour around the tank, it needs cleaning or another soak-away should be dug. Where there are tile fields, the pipes (tiles) should not be exposed; they should be well below ground level. The tiles should be working without any water on the ground around the pipes.

| PLUMBING |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Water Supply |  |  |  |  |
| Water Tanks |  |  |  |  |
| Water Pump |  |  |  |  |
| Exposed water pipes |  |  |  |  |
| Inlets & Outlets to Fixtures (sinks and toilets) |  |  |  |  |
| Septic Tank |  |  |  |  |
| Soakaway field |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |

## ELECTRICAL

The Health Centre’s electrical system commences at the electrical panel box. Inside this box, main power lines bring electricity into the Health Centre, and branch lines (circuits) take electrical power to other parts of the Health Centre. The main lines are called service entry lines. There are three main lines, a positive, a negative and a neutral. The positive and negative carry the power to the lights and appliance outlets while the neutral is connected to an earth or ground conductor. The grounding wire runs from the connection at the neutral to a metal rod buried in the earth. This is a separated rod, driven into the earth. If the Health Centre loses the neutral connection, electricity will follow through this wire to the ground, literally into the earth. It is extremely important for the safety of all users of the Health Centre that this connection is properly maintained and not allowed to be cut by accident or vandalism.

The electrical panel box will contain circuit breakers. These are known as over-current devices. They prevent dangerous heat build-ups and potential fires. If a circuit becomes overloaded, or experiences a rapid power surge, heat can build up in the circuit wire in the walls. Unless the flow of current is stopped, the insulation around the wire can melt, and the heat can cause a fire. The overload protector is designed to prevent this.

The heat is transferred to the circuit breaker in the electrical panel box; if it reaches a preset level, the breaker then trips, or the fuse blows, cutting off current in the circuit. If this happens, someone should be brought in to determine the cause. If it is determined that the cause was faulty equipment, be sure to have it repaired or replaced. Once the cause is determined and solved, reset the circuit breaker.

If there is a circuit breaker in the Health Centre, there is a simple maintenance task to be performed every six to 12 months. Open the door of the panel box cover. Then one by one, turn off the circuit breaker and turn it back on. Don’t do this with the main breaker if there is one, just individual circuits. And if there is any critical equipment on a circuit that could be affected by power loss, leave that one alone too. There is a possibility that the breaker will not reset and will have to be replaced. In fact, that is what it is being testing for, breakers that do not operate properly. So use good judgement in selecting breakers for testing.

| ELECTRICAL SYSTEM |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Service entrance cable |  |  |  |  |
| Main panel box |  |  |  |  |
| Circuits and conductors |  |  |  |  |
| Ground conductor connection |  |  |  |  |
| Outlets and switches |  |  |  |  |
| Interior lighting (lamps and bulbs) |  |  |  |  |
| Exterior lighting |  |  |  |  |
| Electrical equipment |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |

## GROUNDS

Good maintenance of grounds, access roads and paths means keeping a watchful eye for conditions that may cause tripping hazards or water drainage toward the Health Centre building. Any tripping hazards should be eliminated through repair or clearing. Repairs must also be done if the condition of the material deteriorates and creates an eyesore. Gravel driveways often develop ruts, and if severe enough, regrading may be needed in addition to more gravel.

Particular attention should be paid to the direction of the water flow in heavy rain. If the grounds slope toward the Health Centre building, forcing water toward it, then modification of the surface drainage is required. This could be as simple as regarding the ground to the construction of concrete or stone pitched drains. Serious conditions should be reported immediately so that remedial work is properly designed. This condition must be monitored on a continuous basis as any changes to the ground such as new construction can upset established drainage patterns. Care must be taken to ensure that all natural or constructed drainage paths are kept clear of rubbish which can accumulate during the dry season.

Staff at sites with retaining walls should be particularly watchful. Retaining walls deteriorate because of excessive pressure built-up behind them, generally due to water accumulation. Often conditions can be improved by excavating a trench behind the retaining wall and filling it with coarse gravel. Drain holes through the wall will then be able to relieve the water pressure. Retaining walls sometimes suffer from the root pressure or from general movement of top soil down the slope. Normally these conditions require rebuilding the retaining wall.

One of the most successful and pleasant methods of overcoming the danger of improper rainwater drainage and ponding is to build and maintain grassed areas and/or gardens around the Health Centre. These can be very simple or can include large bushes and even trees. However care should be taken to ensure that no deep rooted plants are located in the area of the waste water soakaway field and no tall trees are planted close to the Health Centre buildings.

| GROUNDS |
| --- |
| Name of Health Centre: | Date of inspection: |
| Name of District: | Name of person who filled out the form: |
| Identify the specific item with a description. Leave blank if the item does not exist. | Choose one. | If unsatisfactory, describe the problem. | Where is the unsatisfactory component located in the Health Centre building? |
|  | Satisfactory | Not Satisfactory |  |  |
| Access road and path |  |  |  |  |
| Retaining walls |  |  |  |  |
| Gardens |  |  |  |  |
| Surface water drains |  |  |  |  |
| Fencing |  |  |  |  |
| Other |  |  |  |  |
| General Remarks: |