TESP: SCHOOL INFRASTRUCTURE SURVEY QUESTIONNAIRE

School Infrastructure Survey 2006

# Identification Details

| Questionnaire Identification |  | Surveyor Identification |
| --- | --- | --- |
| Name of School |  |  | Date of interview |  |
| School Code |  |  | Surveyor name |  |
| Village |  |  | Date checked |  |
| Island |  |  | Respondent Identification |
| Telephone no |  |  | Contact name |  |
| Email address |  |  | Job title |  |

Introduction

We are conducting a nationwide survey of school infrastructure on behalf of the Ministry of Education and we are here today to ask you some questions about your school’s infrastructure, facilities and equipment. The survey is split into two components, with the first dealing with basic information about the school, and the second component involving completing school building inspection reports.

The questions in the survey take one of two forms. Some questions will require quantitative data and clear definitions are provided for what is required. Other questions are subjective and the enumerator, who is a trained engineer, will select the best answer from a choice of possible responses to each of these questions.  Section 1 should be completed by the School Principal and Sections 2 to 11 by the enumerator with help as required from the principal.

The purpose of the survey is to 1) obtain an overall picture of the current state of school infrastructure and equipment in Tonga and 2) to build up a profile of each school as part of the process of developing minimum services standards for schools. Once the survey is complete and results aggregated you will be able to compare the current status of your school against the average for similar schools in Tonga and ascertain any areas where your school may not be meeting the minimum service standard for schools in Tonga.

It should be pointed out that the undertaking of this survey is in itself not an indication that the Ministry of Education will be undertaking a construction program.  Your co-operation is greatly appreciated and I thank you for taking the time to answer the questions.

| Would you like to receive a copy of the final profile of your school? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

Surveyor Comments Regarding this Interview

| Section 1: School Data 1. Basic Information |  |  |
| --- | --- | --- |
| 1.1 What year was the school established? | Year |  |

1.2 Does the school have boarding accommodation? (circle yes or no)		yes	no

Number of boys boarding: ……..………….

Number of girls boarding: ……..………….

1.3 Does the school have a Parent/Teacher Association? (circle yes or no)		yes	no

| If yes, state the number of times the PTA meet last year |  |  |
| --- | --- | --- |

1.4 Do the students pay fees? (circle yes or no)				yes	no

| If yes, how much are the fees per student per year? |  |  |
| --- | --- | --- |

1.5 How much money did the school receive for maintenance of school facilities in 2005?

|  | Cash 2005 |
| --- | --- |
| PTA |  |
| Ex Students |  |
| Other |  |

Please specify other:………………………………………………………….

1.6 How much money did the school receive for other uses in 2005?

|  | Cash 2005 |
| --- | --- |
| PTA |  |
| Ex Students |  |
| Other |  |

Please specify other:………………………………………………………….

# 2: Site and Land

| 2.1 Please state the land ownership (circle number below) |  |
| --- | --- |
| 1. Crown land | 2. Noble’s Estate | 3. Private |

| 2.2 Are there any play grounds or sports fields? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, please describe: ……………………………………………………………….

……………………………………………………..

| 2.3 Are there any vegetable gardens? | Yes |  | No |  |
| --- | --- | --- | --- | --- |
| 2.4 Is the school fenced? | Yes |  | No |  |
| 2.5 If no, is a fence required? | Yes |  | No |  |

| 2.6 What is the travel time to the nearest supply of building materials? | hrs |  |
| --- | --- | --- |

2.7 What is the means of transport for building materials? (circle number below)

| 1. Road | 2. Boat |  |  |
| --- | --- | --- | --- |

| 2.8 What is the cost of materials transport? | $ |  | /kg |
| --- | --- | --- | --- |

| 2.9 What services are available on the site? |  |  |  |  |
| --- | --- | --- | --- | --- |

|  |  |  |  |  |  | Is this service reliable? |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Yes |  | No |  |  | Yes |  | No |
| Town power |  |  |  |  |  |  |  |  |  |
| Generator |  |  |  |  |  |  |  |  |  |
| Solar power |  |  |  |  |  |  |  |  |  |
| Telephone |  |  |  |  |  |  |  |  |  |

| 2.10 Has the school got a reliable radio that can receive school broadcast programs? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

# 3. Water Supply & Sanitation

3.1 Where does the school get most of its water? (circle number below)

| 1. Rainwater tanks | 2. Stream | 3. Well | 4. Town supply |
| --- | --- | --- | --- |

| If tanks, state number and total capacity | Number |  | litres |  |
| --- | --- | --- | --- | --- |

| 3.2 Is there a reliable working pump? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, state type: ……………………………………………………………….

| 3.3 Is there a reliable water supply all year? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

| If no, when do shortages occur? (tick boxes below) |  |
| --- | --- |

| Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

3.4 What type of toilets does the school have? (circle number below)

| 1. Flush toilets | 2. VIP latrines | 3. Pit latrines | 4. Other |
| --- | --- | --- | --- |

3.5 How many toilets are in working order?

|  |  | Male |  | Female |
| --- | --- | --- | --- | --- |
| Students |  |  |  |  |
| Teachers |  |  |  |  |

| 3.6 Are girls toilets located away from boys toilets? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

| 3.7 Are there functioning washing facilities? |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes |  | No |
|  | For boys |  |  |  |
|  | For girls |  |  |  |

| 3.8 Has the school been closed in the last 12 months due to sanitation problems? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, please describe: …………………………………………………………………….……….

# 4. School facilities (to be completed by school principal and surveyor)

| 4.1 Please indicate the number of existing classrooms |  |  |  |
| --- | --- | --- | --- |

| 4.2 Does the school require additional classrooms? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, how many …………….

| 4.3 Does the school require additional classrooms for class 7 & 8? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, how many …………….

4.4 Please indicate the number of other facilities:

| Administration rooms |  | Staffrooms |  | Library |  |
| --- | --- | --- | --- | --- | --- |
| Science laboratories |  | Prep rooms |  | Workshops |  |
| Dining room |  | Kitchen |  | Staff houses |  |
| Gym |  | Hall |  | Church |  |
| Medical clinic |  | Industrial arts |  | Home economics |  |
| Boarding accommodation: | For boys |  | Girls |  |
| Computer lab |  | Other |  |  |  |  |  |

| 4.5 Does the school require additional facilities? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, what facilities ……………………………………………………………………………..

# Section 2: Inspection Reports

|  | School code |  |
| --- | --- | --- |

# 1. Sketch plan (to be prepared by surveyor)

1.1 Please draw a sketch plan of the school site showing all buildings, services, roads, paths, drains, large trees, beaches, adjoining buildings, and any other notable features (show north point).

# 2. Site information

| 2.1 Please indicate the size of the site |  |  | Square metres |
| --- | --- | --- | --- |

| 2.2 Is the site size adequate? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

2.3 Please describe the site? (circle number below)

| 1. Flat | 2. Gently sloping | 3. Steeply sloping | 4. Undulating |
| --- | --- | --- | --- |

2.4 Please describe the condition of the site? (circle number below)

| 1. Dry | 2. Muddy | 3. Danger of flooding |  |
| --- | --- | --- | --- |

| 2.5 Is there any danger of earth slips, landslides, etc? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

If yes, please describe ……………………………………………………………………………..

| 2.6 Are there any large or dangerous trees? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

| 2.7 Are there any power cables crossing the site? | Yes |  | No |  |
| --- | --- | --- | --- | --- |

Please comment on any other factors affecting the site ………………………………………..

………………………………………………………………………………………………………………

3.  Site Works (to be completed by surveyor)

| Element | Construction & quality | Defects/ work required |
| --- | --- | --- |
| Access roads |  |  |
| Paths & steps |  |  |
| Retaining walls |  |  |
| Water reticulation |  |  |
| Electrical reticulation |  |  |
| Storm drains |  |  |
| Soil & waste installation |  |  |
| Septic tanks & soak-ways |  |  |
| Well |  |  |
| Pump |  |  |
| Water tank |  |  |
| Perimeter fence and gate |  |  |

0 = not applicable, 1 = good, 2 = average, 3 = poor, 4 = requires demolition,

Any further comments on this site ……………………………….………………………………..

………………………………………………………………………………………………………………

# 4: Buildings: External Structure and Finishes

|  | School code |  |
| --- | --- | --- |

| BUILDING NAME OR NUMBER (as shown on site drawing) | (ie administration building or classroom building 1) |
| --- | --- |
| Basic construction type: |  |
| Constructed/funded by: |  |
| Element | Material & quality | Defects/ work required |
| Roof finish |  |  |
| Roof structure |  |  |
| Fascias, eaves & verge boards |  |  |
| Paint: fascias, eaves, etc. |  |  |
| Gutters & flashings |  |  |
| Foundations |  |  |
| Walls |  |  |
| Wall columns & beams |  |  |
| Paint: walls & external ceilings |  |  |
| Windows & fittings |  |  |
| Doors & fittings |  |  |
| Paint: Doors & windows |  |  |
| Veranda floor |  |  |
| Veranda columns & beams |  |  |
| Veranda ceilings |  |  |
| Foundations |  |  |
| External paving |  |  |
| Storm drains |  |  |
| Water installation |  |  |
| Soil & waste installation |  |  |
| Electrical installation |  |  |
| Other |  |  |

0 = not applicable, 1 = good, 2 = average, 3 = poor, 4 = requires demolition,

Any further comments on the exterior …………………………….………………………………..……………………………………………

5. Buildings: Internal Structure and Finishes (to be completed by surveyor)

|  | School code |  |
| --- | --- | --- |

| BUILDING NAME OR NUMBER (as shown on site drawing) | (ie administration or classroom building 1) |
| --- | --- |
| Area of building (external dimensions) | X x Y metres = …………square metres |
| Number of rooms | (ie 4 classrooms 7 x 8 metres internally) |
| Element | Material & quality | Defects/ work required |
| Ceiling |  |  |
| Walls |  |  |
| Wall tiles |  |  |
| Wall columns & beams |  |  |
| Paint: walls & ceilings |  |  |
| Internal doors |  |  |
| Paint: Doors, windows & fittings |  |  |
| Floor |  |  |
| Floor tiles |  |  |
| Chalk boards |  |  |
| Sinks & sanitary fittings |  |  |
| WCs |  |  |
| Water installation |  |  |
| Soil & waste installation |  |  |
| Science labs |  |  |
| workshop |  |  |
| Home economics |  |  |
| Information technology |  |  |
| Shelves & cupboards |  |  |
| Teacher’s desk & chair (no and type) |  |  |
| Students’ desks and chairs (no and type) |  |  |
| Electrical installation |  |  |
| Other |  |  |

0 = not applicable, 1 = good, 2 = average, 3 = poor, 4 = requires demolition,

Any further comments on the interior …………………………….………………………………..

D. GUIDELINES FOR COMPLETING SCHOOL INSPECTION REPORTS

1. Methodology for Carrying Out Inspections

1.1	The surveyors should visit each school to be surveyed and carry out a detailed inspection of the site and the existing buildings.

1.2	The surveyors should complete Section 1: Basic Information that will provide basic data for the school with the assistance if necessary of the School Principal.

1.3	The surveyors should then complete Section 2: Inspection Reports which will provide detailed information on the school site and buildings, an assessment of the quality of the facilities and list work that is required for each building, service or facility.

2. Notes on Completing the Survey Forms

Section 1: Basic Information

1. Identification Details

1.1	The surveyor should enter the name and number of the school and the other school details on the front page of the survey document.  He should also identify the school principal or other school official with whom he has worked and who has provided the information on the school.  The surveyor should also provide his name and the date of the survey.

2. Basic School Data

2.1	The basic and current school data required in this section in parts 1 and 2 should be provided and entered on the forms by the school principal or his/her representative.

3. Site and Land

3.1	The surveyor should estimate the size of the site and its area ie 50 x 100 metres giving an area of 5,000 square metres.

3.2 The surveyor should also ascertain the ownership of the land, whether there are any play grounds or sports fields (and if so describe these) and whether there are any vegetable gardens.

3.2	The surveyor should also state whether the site is fenced and if not whether it should be fenced.

3.3	This should be completed by the surveyor with the assistance of the school principal.  Assess the travel time to the nearest supplier of building materials.  State what transport is required for transporting materials and the cost of transporting materials.  These details will be important when assessing how much the transport of building materials will cost for any extensions or repairs to the school buildings.

3.4	The surveyor should state what services are available on the site and whether they are reliable or not.

3.5	The surveyor should also establish whether the school has a reliable radio that can receive school broadcasts.

4. Water Supply and Sanitation

4.1	The surveyor should state where the school obtains most of its water.  If there are water storage tanks the number and capacity of the tanks should also be stated.

4.2 The surveyor should also ascertain whether there are any pumps for pumping water and if so the type of pump and whether they are working and reliable should be stated.

4.3	The surveyor should establish whether the school has a reliable water supply and if not when shortages occur.

4.4The surveyor should state what sort of toilets the school has; whether they are in working order; whether the girls’ toilets are situated away from the boys’ toilets and whether there are washing facilities in working order for both boys and girls.  Note: a VIP toilet is a pit latrine with a ventilated pit.

4.5	The surveyor should also establish whether the school has been closed in the last 12 months because of problems with the toilets.

5. School Facilities

  - The inspector should indicate the number of existing classrooms and state whether the school requires additional classrooms to accommodate the existing number of students.  The surveyor should also establish whether additional classrooms will be required in the near future for Classes 7 and 8 (ie Forms 1 and 2).  This will only be necessary if a primary school is being upgraded to a middle school.  This should be done with the assistance of the school principal.

  - All other facilities at the school should also be listed and the surveyor should establish, with assistance of the principal whether any additional facilities are required.

  - The condition of the facilities will be assessed using the Inspection Reports (see below).

Section 2: Inspection Reports

Note: 	The inspection of the buildings should cover all the elements including the roof, ceiling, walls, floors, doors, windows and verandas, both internally and externally and should be carried out systematically.

The type of construction materials used for the various elements should be listed and an assessment made of the quality of the material or workmanship for each element.  The quality should be defined as follows:

- 0: Not applicable.

- 1: Good: only routine maintenance required ie painting.

- 2: Average: only minor repairs required ie replacement of louvre blades or door handles, etc.

- 3: Poor: major or urgent repairs required ie roof sheets or roof timbers require replacement, etc.

- 4: Dangerous: requires immediate replacement or demolition ie roof structure dangerous and requires replacement; block walls cracked by earthquake and require demolition, etc.

Any defects should be listed together with the work required to make the defects good or to replace an element.  The description should be sufficient to enable a cost to be estimated for this work at a later date if required.

Guidelines to assist the surveyors in making objective assessments of the quality of the work are given in Section 3.

1. Site Plan

1.1	State the school code to identify the school.

1.2	Draw sketch plan (with approximate dimensions) of the site showing all buildings, services, roads, paths, drains, large trees, streams, rivers, beaches, adjoining buildings and any other notable features.  Indicate north with a north point.

2. Site Information

2.1	State the school code to identify the school.

2.2	State (or estimate) the size of site in square metres.

2.3	Assess whether the size of the site is adequate for the school; is there room for play areas for all students for instance.

2.4	Is there an access road leading to the school.

2.5 General formation: is the site flat, steeply/gently sloping, undulating, etc.

2.6	Condition: is the site dry, muddy, water-logged; is there any standing water.

2.7	Is there any danger of earth slips, landslides, flooding, etc.

2.8	Are there any large or dangerous trees; are there any power cables crossing the site, etc.

2.9	Comments: comment on any other factors affecting the site.

3. Site Works

3.1	State the school code to identify the school.

3.2	Access road: if there is an entrance road; is it in good condition; are there any defects.

3.3	Site paths/steps: are they complete; are there any visible defects.

3.4	Retaining walls: are they properly built and complete; are there any cracks or other visible defects or reasons to suspect that there might be defects; are there any parts of the site that require retaining walls that do not have them.

3.5	Water reticulation: are water pipes of an adequate size and to the correct specification; do they appear to be buried at the correct depth, etc.

3.6	Electrical reticulation: are any overhead cables high enough; are the cables of an adequate size; are they properly fixed to buildings; are any underground cables armoured cables or in proper conduits; do they appear to be buried at the correct depth, etc.

3.7	Storm-water drains: are there any surface water drains; are they functioning; do they drain adequately; is there an outflow; are there any defects; what is the general condition.

3.8	Soil and waste installation: are they functioning; are there any visible defects.

3.9	Septic tanks/soakaways: are there any visible defects, such as leaks or broken covers, etc.

3.10	Well: if there is a well(s); is there any water in the well(s); is the well deep enough to contain water at the end of the dry season; is the well covered; is the well clean or dirty; is the well at least 30 metres from the nearest septic tank or soakaway.

3.11	Pump: is there a hand or electric pump; if so, is the pump functioning.

3.12	Water tanks: are there any water tanks; are they covered, leaking, connected and functioning.

3.13	Perimeter fences, walls and gates: are they complete; are there any visible defects.

3.14	Comments: comment on any defects, unfinished work, etc that is not covered above.

4. Buildings: External Structure and Finishes

Note: Separate report to be completed for each building; state the school code to identify the school.

4.1	State the building name or number as shown on the site plan ie administration or classroom building 1, etc.

4.2	State who the building was constructed or funded by ie PTA, Japanese Government, New Zealand Government, etc.

4.3	Describe basic construction of building ie timber-framed or blockwork walls, timber roof structure with corrugated steel roof sheets, etc.  Comment here on any asbestos roof sheets or wall panels; note any damage.

4.4	Roof finish: comment on construction, materials, finish, laying, any visible defects, etc.

4.5	Roof structure: comment on visible roof timbers and on quality of timber, joints, cyclone fixings, etc.

4.6	Fascias, eaves and verge boards: comment on quality of timber, jointing and painting.

4.7	Fascias, eaves and verge boards: comment on paint finish.

4.8	Gutters and flashings: comment on construction and finish; any visible leaks.

4.9	Foundations: any visible defects; any cracks, subsidence or undermining.  Are concrete foundations large and deep enough.  Are foundation posts structurally sound, properly braced, etc.  Are floor bearers properly fixed to foundation posts with cyclone fixings.

4.10	Walls: comment on construction, rendering and finish; are there any visible defects.

4.11	Walls and external ceilings: comment on paint finish.

4.12	Wall columns and beams: comment on construction, finish; are there any visible defects.

4.13	Windows and fittings: comment on construction, finish, fittings, ironmongery; are there any visible defects.

4.14	Doors and fittings: comment on construction, finish, fittings, ironmongery; any visible defects.

4.15	Windows and doors: comment on paint finish.

4.16	Veranda floors: are they complete; in good condition; are there any visible defects.

4.17	Veranda columns and beams: comment on construction; finish; are there any visible defects.

4.18	Veranda ceiling and soffits: comment on construction and finish of any soffit or ceiling boards; any visible leaks.

4.19	Paving around building: is the paving complete; in good condition; are there any visible defects.

4.20	Storm-drains: are they complete; in good condition; are there any visible defects.

4.21	Water installation: is the installation complete with fittings; is the installation adequate for its purpose; are there any visible defects.

4.22	Soil and waste installation: is the installation complete with fittings; is the installation adequate for its purpose; are there any visible defects.

4.23	Electricity installation: is the installation complete with fittings; is the installation adequate for its purpose; are there any visible defects.

4.24	Other: comment on any other finishes or features, etc.

5. Building: Internal Structure and Finishes

Note: Separate report to be completed for each building; state the school code to identify the school.

5.1	State the building name or number as shown on the site plan ie administration or classroom building 1, etc.

5.2	Ceiling: construction, finish, condition, any visible leaks from roof or other defects.

5.3	Walls: finish; any visible defects.

5.4 Wall tiling: any wall tiling; finish; any defects.

5.5 Wall columns and beams: construction, finish; any visible defects.

5.6	Paint: walls and ceilings: comment on finish and quality.

5.7	Internal doors: type, construction, finish, fittings, ironmongery; any visible defects.

5.8	Paint: doors, windows and fittings: comment on finish and quality.

5.9	Floors: finish, condition; any visible defects such as rotten boards.

5.10	Floor tiles: comment on quality of tiles and laying; any defects such as subsidence.

5.11	Chalk-boards: if fitted, comment on finish, any defects.

5.12	Sinks and sanitary fittings: any sinks, taps, etc; are installations complete; are installations functioning; any defects visible.

5.13	WCs: any WCs fitted; what type; are they functioning.

5.14	Water installation: is the water installation connected; is it functioning.

5.15	Shelves and cupboards: any fitted; finish; any defects.

5.16	Teacher’s desk and chair: are they in place; do they require repair or replacement.

5.17	Students’ desks and chairs: are there any; if so what type; do they

require repair or replacement.

5.18	Electricity installation: is installation complete with fittings; is installation adequate; any visible defects.

5.19	Other: comment on any other fittings, fixtures, finishes, etc.

Section 3. Guidelines for Assessing the Quality of Construction

1. Roof

1.1 Roof timbers: If visible do they meet specifications; are they straight or twisted, solid or split; are roof trusses well made and well fixed; are purlins straight, well lapped and properly connected to trusses and rafters. Are they treated with wood preservative?  Do any timbers require replacement?

1.2	Roof covering: Is the ridge straight and level; are the roof tiles/roof sheets laid straight; are there any sags in the roof; are the roof tiles/roof sheets of good quality and do they meet the specification; are any gutters well made and fixed; are the fascias and bargeboards good quality timber, well fixed and well painted. Do they require any repairs, replacement or repainting.

Note: any asbestos roof sheets that might require replacement should be

noted.

1.3	Cyclone resistance: Are the roof timbers properly secured to the walls or wall framing (with bolts or strapping or hurricane bolts); are purlins adequately secured to roof trusses, rafters, etc (with bolts, strapping, etc); are roof sheets adequately fixed especially at the eaves, verges and ridges (corrugated steel roof sheets should be fixed at each corrugation in a zone around the perimeter of the roof); is the roof structure adequately braced with timber or steel bracing.

Note: particular care should be taken in assessing the adequacy of cyclone fixings and bracing in the roof structure.

2. Ceiling

2.1	Are any roof leaks evident; are the ceilings fixed level and true or are there any sags; are there any cover strips and if so are they good quality and well fixed; are the ceiling panels and cover strips well painted.  Do any panels or cover strips require replacement or repainting?

Note: any asbestos ceiling panels that might require replacement should be

noted.

3. Foundations

3.1	Elevated floors: do foundation posts have adequate foundations; are foundation posts properly braced; are floor bearers adequately secured to foundation posts with cyclone fixings; are timber or steel foundation posts in good condition and adequately braced.

3.2	Concrete foundations: are concrete foundations deep enough and protected from erosion; are timber walls tied down to foundations.

Note: particular care should be taken in assessing the adequacy of cyclone fixings between foundations, floors and walls.

4. Floor

4.1	Is the floor level; if screed finish is this solid or are there any cracks or deterioration in the surface; if tiled are these well laid, flat with even joints.  Do they require any repairs or replacement of tiles?

4.2	For timber floors are any boards or floor joists rotten and requiring replacement.

5. Walls

5.1	Are blockwork walls plumb and well built; is the render flat and well finished; are any cracks evident; is the paint good quality and the painting well finished; are any wall tiles properly fixed, flat and square with even joints and the correct grout.  Do the walls or tiles require any repairs?  Do the walls require repainting?

5.2	For timber-framed walls is any framework rotten and requiring replacement; is any internal or external wall panelling or boarding damaged or requiring replacement; are walls adequately braced with strap bracing, boarding etc; are wall framing timbers properly secured to floor bearers or foundation posts and to roof timbers.

  - Note any asbestos wall panels that might require replacement.

Note: particular care should be taken in assessing the adequacy of cyclone fixings between timber wall framing and roof framing and between concrete block walls and roof framing.

6. Columns & Beams

6.1	Are any columns and beams of adequate size, plumb, level and well built; is the concrete if visible, of good quality; are any cracks evident. Do they require any repairs or repainting?

7. Windows

7.1	Timber windows: is the timber good quality, any splits or cracks; is the timber properly planed and finished; are the windows well made with the correct joints; is there any twisting in the frames; are the windows properly painted or varnished with good quality paint or varnish; are the frames properly fixed.  Do they require any repairs, replacement or repainting.  Does any glass require replacement.

7.2	Steel or aluminium louvres: are they functioning properly; are they rusted; do they require replacement; do any louver blades require replacement.

7.3	If windows are glazed are they adequately protected against damage during cyclones.

7.4	If there are protective grilles or mesh over the windows are they in good condition; do they require replacement.

8. Doors

8.1	Hardwood doors: Is the timber good quality, any splits or cracks; is the timber properly planed and finished; are the doors well made with the correct joints; is there any twisting in the doors; are the doors properly painted or varnished with good quality paint or varnish; are the frames properly fixed.  Do they require any repairs, replacement or repainting.

8.2	Flush doors: Are the doors well made; are they finished with good quality plywood or metal sheet of the correct thickness; are the door skins properly glued and fixed; is there any damage to the door skins; is there any twisting in the doors; are the doors properly painted or varnished with good quality paint or varnish; are the frames properly fixed.  Do they require any repairs, replacement or repainting.

9. Hardware

9.1	Are there sufficient door and window hinges; are the door and window hinges, window stays, door handles and locks, of good quality; do they meet the specifications; are they properly fixed with the correct number of the right size screws.  Do any fittings require replacement.

10. Chalkboards

10.1	Are the chalkboards properly made; are they framed and adequately fixed to the walls; are they smooth and properly finished; are they painted with chalkboard paint.  Do they require replacement or repainting.

11. Electrical Installation

11.1	Does the electrical installation meet the required specification; is it properly earthed; are all fixtures and fittings properly fixed.  Is the installation safe; does it require any repairs.

12. Water Installation

12.1	Does the installation meet the required specification; are there any leaks; are there sufficient stop-cocks; are all fittings properly fixed to or let into walls.  Does the installation require any repairs or replacement of any parts.

13. Soil & Waste Installation

13.1	Does the installation meet the required specification; are there any leaks; are all pipes properly buried; do all manhole covers fit properly; do septic tnaks or soakaways require emptying or replacement.  Does the installation require any repairs or replacement of any parts.

14. Veranda Floor

14.1	Is the floor level; if screed finish is this solid or are there any cracks or deterioration in the surface; if tiled are these well laid, flat with even joints.  Does the floor require any repairs or replacement of tiles.

14.2	If the veranda is raised, does the timber floor require any repairs; do stairs and handrails require repairs or replacement.

15. Veranda Ceiling

15.1	Are any roof leaks evident; are the ceilings fixed level and true or are there any sags; are the cover strips good quality and well fixed; are the ceiling panels and cover strips well painted.  Do any panels or cover strips require replacement or re-painting.

16. Veranda Columns & Beams

16.1	Are RC columns and beams of adequate size, plumb, level and well built; is the concrete if visible, of good quality; are any cracks evident.  Do they require any repairs or repainting.  Are timber columns and beams in good condition; do any require repair or replacement.

17. External Paving

17.1	If the is any external paving is it in good condition; are there any cracks or breakages; is any paving undermined; does any paving require replacement.

18. Storm Drains

18.1	Are the drains built to adequate falls to outlets; are the drains well constructed; are they rendered internally; is the rendering smooth and well finished; are any cracks visible; are any drains broken or undermined; do any drains require any repairs or replacement.